## Sheet1
round | query_rfi_ref | query_project | query_trade | query_phase | query_text | match_rfi_ref | match_project | match_trade | match_phase | match_text | final_score | keyword_score | semantic_score | phase_score | entity_score | matched_keywords | tier
1 | RFI-126 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit Door 1032A Issue Exit Door 1032A Issue Reference: Attached Document Question: The existing site condition where Door 1032A will be at do not allow for the required ADA clearances of 18" on the pull side and 12" on the push side of the door. Please confirm if the frame can be changed to a 1-1/2" face and the door shifted over to the east wall, that will allow the door to meet ADA clearance requirements. Suggested answer Change the frame to a 1-1/2" face and shift the fra | RFI-97 | Intuitive Surgical MOB | architectural | mep_trim_out | Opening 1032A Width & Location Confirmation Opening 1032A Width & Location Confirmation Reference: Level 1 Floor Plan/A2.11 Door Schedule/A9.21 Question: Door 1032A is called to be 3'-8" wide. Required clearance will not be met between door pull and adjacent wall in location shown. 1. To maintain pull clearance, please confirm Door 1032A can be 3'-4" wide and shifted to be in plane with highlighted wall shown on attached floor plan. | 0.8479 | 1 | 1.0024 | 1 | 0 | door, required, shift, 1032a, pull, shifted, clearance, door 1032a, wall | 1
1 | RFI-126 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit Door 1032A Issue Exit Door 1032A Issue Reference: Attached Document Question: The existing site condition where Door 1032A will be at do not allow for the required ADA clearances of 18" on the pull side and 12" on the push side of the door. Please confirm if the frame can be changed to a 1-1/2" face and the door shifted over to the east wall, that will allow the door to meet ADA clearance requirements. Suggested answer Change the frame to a 1-1/2" face and shift the fra | RFI-127 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit 1066B Door Issue Exit 1066B Door Issue Reference: Attached Document Question: The existing conditions show a K-brace intersecting the proposed door opening at 6'-8" above the finished floor. This interferes with the installation of the specified 5'-0" x 8'-0" door frame, preventing proper placement and clearance. Please confirm if the wall framing can be modified to accommodate the door frame. Suggested answer Bumping the wall framing out will allow the door frame clear | 0.847 | 1 | 0.9974 | 1 | 0 | condition, document, allow, suggested, door, frame, clearance, exit, wall | 1
1 | RFI-928.1 | Southline Office | structural | interior_finishes | GC to clarify if these embed plates are already installed? If so, will this detail be OK without the DBA's? Or is alternative detail required? Please verify using detail similar to SSK-025 (received as part of RFI-0928 response) will be acceptable? | RFI-0928 | Southline Office | structural | interior_finishes | Please see attached "SK-MC-008" for queries 1-4. 1 - Please verify roof screenwall framing arrangement dimensions are acceptable or advise correct dimensions. 2 - Please verify roof screenwall framing levels as shown are acceptable or advise correct levels. 3 - Please verify dimension from underside of HSS member to kicker work point is acceptable or advise correct dimension. 4 - If bottom HSS level is incorrect (EL:23'-7"1/4) please clarify dimension from underside of HSS to kicker. Please ensu | 0.8441 | 1 | 1.0269 | 1 | 0 | clarify, acceptable, required, detail, verify, plates | 1
1 | RFI-1724.1 | Southline Office | architectural, interior_finishes | interior_finishes | 1) Is the 2'0" countertop to be maintained throughout the counter length near GL6 and GLB? to RFI-1724 required? 5) What dimension should be followed to inside finish face of "grab and go" equipment? | RFI-1511 | Southline Office | architectural | interior_finishes | B2 Drywall In-Wall Rough-in Interior Redesign & Dimension Clarifications 01 overlay with MAWD drawings & A3.01: 1. Main Gym Towel Drop Modifications a. Please confirm what wall type is required at the towel drop niche b. Please provide dimensions to each edge of the towel niche from GL-C c. | 0.8231 | 1 | 0.9563 | 1 | 0 | length, counter, countertop, finish, required, face, dimension | 1
1 | RFI-0559.1 | Southline Office | architectural | envelope | There is currently no below-grade waterproofing detail for the south elevator face that receives plaster. Per conversation with DES, please provide the a below-grade waterproofing detail for the south elevator plaster wall. Please confirm there is no below-grade waterproofing required at these terracotta systems per detail 4/ Per response to RFI 0559 Question 3 and 4, the storage room is to receive waterproofing per detail 8/ | RFI-1853 | Southline Office | architectural | envelope | PSD Freas Plastering Water Test Confirmation In | 0.8221 | 1 | 0.9435 | 1 | 0 | plaster, waterproofing, room, storage room, face, storage, des, south, detail, wall | 1
1 | RFI-0559.1 | Southline Office | architectural | envelope | There is currently no below-grade waterproofing detail for the south elevator face that receives plaster. Per conversation with DES, please provide the a below-grade waterproofing detail for the south elevator plaster wall. Please confirm there is no below-grade waterproofing required at these terracotta systems per detail 4/ Per response to RFI 0559 Question 3 and 4, the storage room is to receive waterproofing per detail 8/ | RFI-1128 | Southline Office | architectural | envelope | B2 Exterior Skin Waterproofing Details 02, A8.00, A8.01 Question: 1. Per meeting with WW/MCA/BTM/DES/DPR, BTM will be providing a 3x3in GE Elemax 5000 strip per GE warranted detail at all corners (typ.) Please confirm this is acceptable. 2. At typ. Curtainwall sill at Terra Cotta conditions, MCA confirmed it is | 0.8214 | 1 | 0.9514 | 1 | 0 | waterproofing, required, des, waterproofing detail, detail, wall | 1
1 | RFI-928.1 | Southline Office | structural | interior_finishes | GC to clarify if these embed plates are already installed? If so, will this detail be OK without the DBA's? Or is alternative detail required? Please verify using detail similar to SSK-025 (received as part of RFI-0928 response) will be acceptable? | RFI-0855.1 | Southline Office | structural, architectural | interior_finishes | Please verify that at these wing walls, the posts are only required at the end? | 0.8197 | 1 | 0.8522 | 1 | 0 | received, required, detail, verify | 2
1 | RFI-76 | CoreSite Data Center | drywall | preconstruction | Per 7/7 Workshop, DPR requested a termination detail for the East end of UPS Room walls running E-W. Corgan confirmed that these walls will need to run to interior face of exterior walls to maintain required fire rating instead of terminating at existing drywall. This includes wall separating UPS Room 2C and 2D near GL 5; new UPS Room wall must run through shaft to interior face of exterior wall. Please note, demo of existing drywall at UPS room wall terminations will be required to satisfy requ | RFI-156 | CoreSite Data Center | drywall | preconstruction | In Rooms 0235-A & 0236 the Rated walls tie directly to the exterior window mullion. In order to maintain the rating through the Exterior, the walls will need a Rated offset as shown in the markup attached. Suggested answer Corgan, please confirm it is acceptable to add the walls shown in the attached markup with locations specified. | 0.8195 | 1 | 0.907 | 1 | 0 | exterior, termination, maintain, suggested, walls, room, corgan, rating, detail, wall | 1
1 | RFI-76 | CoreSite Data Center | drywall | preconstruction | Per 7/7 Workshop, DPR requested a termination detail for the East end of UPS Room walls running E-W. Corgan confirmed that these walls will need to run to interior face of exterior walls to maintain required fire rating instead of terminating at existing drywall. This includes wall separating UPS Room 2C and 2D near GL 5; new UPS Room wall must run through shaft to interior face of exterior wall. Please note, demo of existing drywall at UPS room wall terminations will be required to satisfy requ | RFI-13 | Intuitive Surgical MOB | drywall | preconstruction | Item 9 on RMW Field Observation Report No. 001 states "DPR to submit RFI for additional details to finish interior side of exterior walls.)" See attached. Please provide finish detail for the interior side of the exterior walls on the north face of the building. This applies to floors 2 through 5. | 0.8178 | 1 | 0.8385 | 1 | 0 | exterior, exterior wall, interior, exterior walls, walls, face, detail, wall, dpr | 1
1 | RFI-84 | CoreSite Data Center | electrical | preconstruction | 1. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels back to 0201-PGB-01. Please confirm if this intended to be shown as typical and it is acceptable to route each RPP panel to the nearest PGB in the area. 2. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels to the raised floor ground grid . Please confirm if that is required for each RPP. 3. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from CRAH units to the raise | RFI-42 | CoreSite Data Center | architectural, cabling, electrical, lighting, mechanical, building management system | preconstruction | Architectural drawing P3-A02-01A calls for RAF in Stair 2 251 and Fiber 272 with a callout stating "V.I.F. PULL BOXES RAISED 3'" in Fiber 272. Per 5/28 coordination meeting with Corgan/DPR, it was determined that bottom of the fiber pull box is 4' above slab and RAF should cover the entirety of the room. Additionally, there is an existing IDU and j-box above the door 272. The height from top of door 272 frame to bottom of j-box is 29". If the door and frame are to be raised 3', the existing j-bo | 0.8117 | 1 | 0.7945 | 1 | 0 | raised, suggested, calls, room, detail | 1
1 | RFI-1724.1 | Southline Office | architectural, interior_finishes | interior_finishes | 1) Is the 2'0" countertop to be maintained throughout the counter length near GL6 and GLB? to RFI-1724 required? 5) What dimension should be followed to inside finish face of "grab and go" equipment? | RFI-1424 | Southline Office | architectural, structural | interior_finishes | Currently details 2 & 8 /A9.73 call for a pony wall framed with 3-5/8" standard metal stud framing at the Coffee Bar/Grab & Go and Servery Counter. While it is not shown in the drawings as required, DPR Drywall had assumed they would need to provide ClarkDietrich Pony Wall studs for the low wall (see attached product data). It is a new understanding these walls must support the cantilevered counter at these details. 1) Ref A4.03, 2&8/A9.73: please confirm what framing details should be used for | 0.8074 | 0.95 | 0.963 | 1 | 0 | counter, grab, required | 1
1 | RFI-1724.1 | Southline Office | architectural, interior_finishes | interior_finishes | 1) Is the 2'0" countertop to be maintained throughout the counter length near GL6 and GLB? to RFI-1724 required? 5) What dimension should be followed to inside finish face of "grab and go" equipment? | RFI-1794 | Southline Office | architectural, structural | interior_finishes | Ref: A9.81, Submittal 4875 Per submittal 4875 review comments a significant number of horizontal 1x1 HSS members were removed. During constructability review, Glazier and Crestamrk both feel that there is not adequate structural support for the floating inner 1x1 framing elements without the horizontal members, highlighted in purple on the attached, staying in place to provide rigidity. 1. Please confirm original design can remain with all horizontal members per A9.81. Crestmark and Glazier have | 0.8053 | 1 | 0.9593 | 1 | 0 | counter, countertop, inside, dimension | 1
1 | RFI-84 | CoreSite Data Center | electrical | preconstruction | 1. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels back to 0201-PGB-01. Please confirm if this intended to be shown as typical and it is acceptable to route each RPP panel to the nearest PGB in the area. 2. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels to the raised floor ground grid . Please confirm if that is required for each RPP. 3. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from CRAH units to the raise | RFI-126 | CoreSite Data Center | electrical | preconstruction | 1. Grounding Detail 2 on Sheet P3-E03-02 calls for a connection between 0245-PGB-01 and Cable Tray (Tag G 4/0); however, we were unable to locate any cable tray within Room 0245 as indicated. 2. Cable tray is shown on the Single Line Diagrams (P3-E01-13 through P3-E01-16). However, the referenced cable tray is not shown on the Grounding Riser Diagram or within the grounding details themselves. Suggested answer 1. Please confirm that the cable tray grounding detail 2 on sheet P3-E03-02 does not a | 0.8031 | 1 | 0.8551 | 1 | 0 | suggested, calls, room, ups room, ups, p3-e03-02, detail, ground | 1
1 | RFI-0559.1 | Southline Office | architectural | envelope | There is currently no below-grade waterproofing detail for the south elevator face that receives plaster. Per conversation with DES, please provide the a below-grade waterproofing detail for the south elevator plaster wall. Please confirm there is no below-grade waterproofing required at these terracotta systems per detail 4/ Per response to RFI 0559 Question 3 and 4, the storage room is to receive waterproofing per detail 8/ | RFI-2003 | Southline Office | exterior_envelope, architectural | envelope | B1 Waterproofing Detail at Loading Dock and CMU Wall Intersection Confirmation 20 Markup | 0.7979 | 1 | 0.8579 | 1 | 0 | waterproofing, des, waterproofing detail, detail, wall | 2
1 | RFI-0559.1 | Southline Office | architectural | envelope | There is currently no below-grade waterproofing detail for the south elevator face that receives plaster. Per conversation with DES, please provide the a below-grade waterproofing detail for the south elevator plaster wall. Please confirm there is no below-grade waterproofing required at these terracotta systems per detail 4/ Per response to RFI 0559 Question 3 and 4, the storage room is to receive waterproofing per detail 8/ | RFI-1698.1 | Southline Office | architectural | envelope | B1 Exterior Penthouse Doors Threshold Confirmation_R1 1 B1 Exterior Penthouse Doors Threshold Confirmation_R1 Reference: SLP1 - RFI 1698.1 - B1 Exterior Penthouse Doors Threshold Confirmation_R1 SLP1 - RFI 1698 - B1 Exterior Penthouse Doors Threshold Confirmation Post On: 15/A9.22 Background: Per RFI 1698 response, detail 15/A9.22 is to remain and the overhanging thresh | 0.7976 | 1 | 0.7732 | 1 | 0 | waterproofing, currently, face, des, detail | 2
1 | RFI-99 | CoreSite Data Center | architectural | preconstruction | Could a furred wall be constructed at this location? | RFI-69 | Abbott Alameda Office TI | architectural, electrical, interior_finishes, mechanical, plumbing | preconstruction | Abbott Alameda 1420 HBP - Phase 1B Restrooms Existing Conditions Modifications Confirmation | 0.7969 | 1 | 0.747 | 1 | 0 | furred wall, wall, furred, location | 1
1 | RFI-1391 | Southline Office | architectural | envelope | B2 Lighthouse Access Door Dimension Confirmation 12, 2/A8.04, Submittal 4212 B2 PVC Membrane Shop Drawings Question: Per detail 2/A8.04 and 17/A5.12, the lighthouse access door is called out to be 30"x30". Per the approved PVC membrane shop drawings, including access door product data (submittal | RFI-1698.1 | Southline Office | architectural | envelope | B1 Exterior Penthouse Doors Threshold Confirmation_R1 1 B1 Exterior Penthouse Doors Threshold Confirmation_R1 Reference: SLP1 - RFI 1698.1 - B1 Exterior Penthouse Doors Threshold Confirmation_R1 SLP1 - RFI 1698 - B1 Exterior Penthouse Doors Threshold Confirmation Post On: 15/A9.22 Background: Per RFI 1698 response, detail 15/A9.22 is to remain and the overhanging thresh | 0.7932 | 1 | 0.7584 | 1 | 0 | door, detail, confirmation, membrane | 2
1 | RFI-84 | CoreSite Data Center | electrical | preconstruction | 1. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels back to 0201-PGB-01. Please confirm if this intended to be shown as typical and it is acceptable to route each RPP panel to the nearest PGB in the area. 2. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels to the raised floor ground grid . Please confirm if that is required for each RPP. 3. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from CRAH units to the raise | RFI-146 | CoreSite Data Center | electrical | preconstruction | Per the contract documents, the current design specifies that MV-250-AL and MV-200-AL conductors be run in 6" conduit from the underground sections to the second-story generators (Gens 04, 10, and 12) and to Chiller 05 from the USS. CEI would like to request approval to revise this design to use 6" GRC from the underground up to the bottom of the pull can, located approximately two feet above the generator slabs, and then transition to 4" GRC for the exposed portion of the raceway. The proposed | 0.7929 | 1 | 0.8188 | 1 | 0 | conduit, document, suggested, contract document, contract, acceptable, detail, ground | 1
1 | RFI-0559.1 | Southline Office | architectural | envelope | There is currently no below-grade waterproofing detail for the south elevator face that receives plaster. Per conversation with DES, please provide the a below-grade waterproofing detail for the south elevator plaster wall. Please confirm there is no below-grade waterproofing required at these terracotta systems per detail 4/ Per response to RFI 0559 Question 3 and 4, the storage room is to receive waterproofing per detail 8/ | RFI-0468.1 | Southline Office | architectural | envelope | Per MCA comments on the waterproofing shop drawings, please confirm it is acceptable to post apply at the pit walls and to terminate the waterproofing on the vertical face wall rather than the thickened portion of the slab. Revised shop drawings were submitted and approved. Please update Sheet | 0.7928 | 1 | 0.8559 | 1 | 0 | waterproofing, face, detail, wall | 1
1 | RFI-1724.1 | Southline Office | architectural, interior_finishes | interior_finishes | 1) Is the 2'0" countertop to be maintained throughout the counter length near GL6 and GLB? to RFI-1724 required? 5) What dimension should be followed to inside finish face of "grab and go" equipment? | RFI-0525 | Southline Office | architectural | interior_finishes | Please confirm that intersections of rated interior walls may be built per the attached wall priority legend and per ASTM C754, where this standard does not conflict with wall priority legend noted. Please confirm that the below typical shaftwall bottom connection details are acceptable for construction and please confirm these details can be incorporated into the interior partition details on the A9 series drawings. Please confirm that the below typical shaftwall corner details are acceptable f | 0.7907 | 0.95 | 0.9075 | 1 | 0 | length, required, near | 1
1 | RFI-0347 | Southline Office | architectural, structural | interior_finishes | a: Please confirm the material & size of blocking/spacer @ base of rail @ lower roof. Q1b: Please confirm the material & size of blocking/spacer @ base of rail @ upper roof. Q1c: Please confirm the top of lower roof finish elevation. Q1d: Please confirm the top of upper roof finish elevation. Q1e: Please confirm if the edge of the stiffener plate is offset from the edge of the flange plate by ½". On the attached SK-19-1B: Q2a: Confirm the CL location of Ladder from gridline GA. Q2b: Confirm the | RFI-0936 | Southline Office | architectural, structural | interior_finishes | Please see attached "SK-MC-003" for queries 1-8. 1 - Highlighted area would suggest the bottom of the HSS member and glazing clash. Please clarify. 2 - Highlighted areas on details 01 & 03/A8.04 would seem to suggest a flush top is required on the HSS members. Please verify whether it is acceptable to have the cap plate flush, removing the 1/4" projection or advise other. 3 - Please clarify whether 1/4" fillet weld is required along the sides of the HSS to the cap plate. 4 - Please verify we are | 0.7905 | 1 | 0.8483 | 1 | 0 | roof, location, base, size, plate, top | 1
1 | RFI-84 | CoreSite Data Center | electrical | preconstruction | 1. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels back to 0201-PGB-01. Please confirm if this intended to be shown as typical and it is acceptable to route each RPP panel to the nearest PGB in the area. 2. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels to the raised floor ground grid . Please confirm if that is required for each RPP. 3. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from CRAH units to the raise | RFI-125 | CoreSite Data Center | electrical, architectural | preconstruction | 1) As discussed with CoreSite, 8/20/2025, please confirm we are to proceed with splitting the RPPs at 4MW (415V) and 5MW (208V). This would give us 80 (208V) RPPs, and 32 (415V) RPPs 2) Provide a markup of the attached RPP layout to show what RPPs are to be removed, and which ones will change to 415V. Please note, materials have already been procured/prefabricated for the current design, we recommend using a similar PDU distribution configuration to the RPPs remaining at 208V. Reference page 6 a | 0.7903 | 0.95 | 0.7764 | 1 | 0 | conduit, rpp, detail | 2
1 | RFI-99 | CoreSite Data Center | architectural | preconstruction | Could a furred wall be constructed at this location? | RFI-94 | CoreSite Data Center | architectural, structural | preconstruction | The current design calls for a furred wall (E6-D) at the south wall of the Janitor's Closet; however, the janitor's closet is to maintain a 1hr rating per A03-03B which cannot be achieved with an E type wall. If the wall rating is to be maintained, DPR proposes changing South wall of the janitors closet to a shaft wall (D-type). If this wall does not need to maintain a fire rating, the E6 wall type can remain. There will be a cost | 0.7884 | 0.95 | 0.7715 | 1 | 0 | furred wall, wall, furred | 2
1 | RFI-0893.2 | Southline Office | structural, architectural | structure | Please review and confirm the revised proposed sketches SK5 and SK6 (showing the addition of the steel plate per RFI 0893 and omitting the anchors) are acceptable per the attached email with Jonathan Chen/DES. | RFI-1423 | Southline Office | structural | structure | PSD Elevator and Stair 1 AB and Base Plate Remediation Confirmation | 0.7881 | 1 | 0.747 | 1 | 0 | email, steel, plate, acceptable, addition | 2
1 | RFI-84 | CoreSite Data Center | electrical | preconstruction | 1. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels back to 0201-PGB-01. Please confirm if this intended to be shown as typical and it is acceptable to route each RPP panel to the nearest PGB in the area. 2. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from RPP panels to the raised floor ground grid . Please confirm if that is required for each RPP. 3. Contract document P3-E03-02 Detail#1 calls out for 3/4" conduits from CRAH units to the raise | RFI-105 | CoreSite Data Center | electrical | preconstruction | Contract documents and design team comments on submittal ID 35 - Panelboards PD state panel CPP-05-01 as furnished by the MCP vendor. The latest phase 3 MCP submittal dated 8/6/24 does not seem to include product data/drawing for panel CPP-05-01. Suggested answer Please confirm if panel CPP-05-01 is provided by Systecon. | 0.7869 | 1 | 0.802 | 1 | 0 | document, panel, suggested, contract document, contract, detail | 1
1 | RFI-99 | CoreSite Data Center | architectural | preconstruction | Could a furred wall be constructed at this location? | RFI-124 | CoreSite Data Center | architectural | preconstruction | Per Sheet P3-A04-03, at the East wall of the men's and women's restrooms there will be two grab bars on the existing wall. Please confirm it is acceptable to attach the grab bars backing to the existing wall. This appears to be a shaft wall, but it is unclear if a furred wall was constructed in front of the shaft wall. Suggested answer Corgan, please confirm if proposed is acceptable, and if a furred wall was constructed in front of the shaft wall. | 0.7862 | 1 | 0.7977 | 1 | 0 | furred wall, wall, furred, constructed | 1
1 | RFI-76 | CoreSite Data Center | drywall | preconstruction | Per 7/7 Workshop, DPR requested a termination detail for the East end of UPS Room walls running E-W. Corgan confirmed that these walls will need to run to interior face of exterior walls to maintain required fire rating instead of terminating at existing drywall. This includes wall separating UPS Room 2C and 2D near GL 5; new UPS Room wall must run through shaft to interior face of exterior wall. Please note, demo of existing drywall at UPS room wall terminations will be required to satisfy requ | RFI-33 | Abbott Alameda Office TI | drywall | preconstruction | Abbott Alameda 1420 HBP - Wall Layout at Existing Storage and Office Confirmation | 0.785 | 1 | 0.8073 | 1 | 0 | demo, drywall, room, wall, dpr | 1
1 | RFI-928.1 | Southline Office | structural | interior_finishes | GC to clarify if these embed plates are already installed? If so, will this detail be OK without the DBA's? Or is alternative detail required? Please verify using detail similar to SSK-025 (received as part of RFI-0928 response) will be acceptable? | RFI-1095 | Southline Office | architectural, structural | interior_finishes | B2 GS Roof Screen Wall Framing R101 & R102 Gates 12, A9.20, RFI-0928 & RFI-0929 Question: It is noted on both RFI-0928 & RFI-0929 that gates R101 & R102 are to be identical. However as per information provided on 19/A5.12, it is noted that the gate height is to be 6'-8" from finished roof surface. | 0.7833 | 1 | 0.8242 | 1 | 0 | clarify, rfi-0928, detail, verify | 2
1 | RFI-1724.1 | Southline Office | architectural, interior_finishes | interior_finishes | 1) Is the 2'0" countertop to be maintained throughout the counter length near GL6 and GLB? to RFI-1724 required? 5) What dimension should be followed to inside finish face of "grab and go" equipment? | RFI-1725 | Southline Office | architectural | interior_finishes | Ref: A4.02, A6.02, A9.77, A10.00 There are discrepancies between the details and finish plan on the countertop material in Conference Rooms 102 and 103. 1) Please confirm ST-6 Terrazzo is acceptable for the countertops in the Conference Room 102 and 103. Please see attached for more information. | 0.7819 | 0.95 | 0.8719 | 1 | 0 | counter, countertop, finish | 1
1 | RFI-928.1 | Southline Office | structural | interior_finishes | GC to clarify if these embed plates are already installed? If so, will this detail be OK without the DBA's? Or is alternative detail required? Please verify using detail similar to SSK-025 (received as part of RFI-0928 response) will be acceptable? | RFI-0906 | Southline Office | architectural, structural | interior_finishes | B2 GS HSS Roof Canopy Framing Kickers | 0.7796 | 1 | 0.8119 | 1 | 0 | clarify, acceptable, detail, verify | 2
1 | RFI-0347 | Southline Office | architectural, structural | interior_finishes | a: Please confirm the material & size of blocking/spacer @ base of rail @ lower roof. Q1b: Please confirm the material & size of blocking/spacer @ base of rail @ upper roof. Q1c: Please confirm the top of lower roof finish elevation. Q1d: Please confirm the top of upper roof finish elevation. Q1e: Please confirm if the edge of the stiffener plate is offset from the edge of the flange plate by ½". On the attached SK-19-1B: Q2a: Confirm the CL location of Ladder from gridline GA. Q2b: Confirm the | RFI-0525 | Southline Office | architectural | interior_finishes | Please confirm that intersections of rated interior walls may be built per the attached wall priority legend and per ASTM C754, where this standard does not conflict with wall priority legend noted. Please confirm that the below typical shaftwall bottom connection details are acceptable for construction and please confirm these details can be incorporated into the interior partition details on the A9 series drawings. Please confirm that the below typical shaftwall corner details are acceptable f | 0.7787 | 1 | 0.8089 | 1 | 0 | location, material, size, top | 1
1 | RFI-0904 | Southline Office | concrete, structural |  | Per coordination with the SEOR, please confirm it is acceptable to cut the dowels in order to install the metal deck and drill and epoxy #4 dowels at 12" o.c. | RFI-0797 | Southline Office | structural, concrete |  | B1 Elevator Over Run DBA's / Ties Reconfiguration | 0.7785 | 1 | 0.9649 | 0.5 | 0 | install, acceptable, seor, deck | 1
1 | RFI-126 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit Door 1032A Issue Exit Door 1032A Issue Reference: Attached Document Question: The existing site condition where Door 1032A will be at do not allow for the required ADA clearances of 18" on the pull side and 12" on the push side of the door. Please confirm if the frame can be changed to a 1-1/2" face and the door shifted over to the east wall, that will allow the door to meet ADA clearance requirements. Suggested answer Change the frame to a 1-1/2" face and shift the fra | RFI-0925 | Southline Office | architectural, structural | interior_finishes | 1) Should door 106 be a Type F single door with full height wall adjacent to it with no sidelight? of wall can be built between the door and the exterior? the doors and the exterior? | 0.7777 | 1 | 0.8808 | 0.85 | 0 | document, door, frame, side, wall | 1
1 | RFI-76 | CoreSite Data Center | drywall | preconstruction | Per 7/7 Workshop, DPR requested a termination detail for the East end of UPS Room walls running E-W. Corgan confirmed that these walls will need to run to interior face of exterior walls to maintain required fire rating instead of terminating at existing drywall. This includes wall separating UPS Room 2C and 2D near GL 5; new UPS Room wall must run through shaft to interior face of exterior wall. Please note, demo of existing drywall at UPS room wall terminations will be required to satisfy requ | RFI-176 | CoreSite Data Center | drywall | preconstruction | Per RFI #29, a soffit was introduced to accommodate varying ceiling heights. To ensure proper alignment, the soffit will match the north wall, and the south 'wing wall' must be shifted 1" to the west. Suggested answer Corgan, please confirm that the wing wall can shift 1" west to have all Walls and soffit align. | 0.777 | 1 | 0.7642 | 1 | 0 | suggested, walls, room, room wall, corgan, detail, wall | 1
1 | RFI-928.1 | Southline Office | structural | interior_finishes | GC to clarify if these embed plates are already installed? If so, will this detail be OK without the DBA's? Or is alternative detail required? Please verify using detail similar to SSK-025 (received as part of RFI-0928 response) will be acceptable? | RFI-0811 | Southline Office | structural, architectural | interior_finishes | Please verify dimensions shown on the attached plan to the ends of the HSS Flat framing. Note : Where collector chord is required (e.g. Grid 9) the end of the HSS has been positioned 3" from the collector chord. Please verify dimensions to position HSS Beams off Grid D (Grid 6-11 only). Please verify dimensions to position HSS Beams off Grid D (Grid 11-13 only). Please verify dimensions to position HSS Beams off Grid C. Please verify dimensions to position HSS Beams off Grid B. Where there is no | 0.7758 | 1 | 0.7994 | 1 | 0 | clarify, required, detail, verify, plates | 2
1 | RFI-126 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit Door 1032A Issue Exit Door 1032A Issue Reference: Attached Document Question: The existing site condition where Door 1032A will be at do not allow for the required ADA clearances of 18" on the pull side and 12" on the push side of the door. Please confirm if the frame can be changed to a 1-1/2" face and the door shifted over to the east wall, that will allow the door to meet ADA clearance requirements. Suggested answer Change the frame to a 1-1/2" face and shift the fra | RFI-32 | Intuitive Surgical MOB | architectural | mep_trim_out | There is an existing column in front of office door 2094 that impedes in the required door clearance. Please provide a new location for this door. | 0.7751 | 0.95 | 0.7528 | 1 | 0 | door, required, clearance | 2
1 | RFI-0893.2 | Southline Office | structural, architectural | structure | Please review and confirm the revised proposed sketches SK5 and SK6 (showing the addition of the steel plate per RFI 0893 and omitting the anchors) are acceptable per the attached email with Jonathan Chen/DES. | RFI-1670 | Southline Office | architectural | structure | lieu of the ¼” x 6 trim plate shown? | 0.7748 | 1 | 0.6983 | 1 | 0 | email, steel, plate, acceptable | 3
1 | RFI-76 | CoreSite Data Center | drywall | preconstruction | Per 7/7 Workshop, DPR requested a termination detail for the East end of UPS Room walls running E-W. Corgan confirmed that these walls will need to run to interior face of exterior walls to maintain required fire rating instead of terminating at existing drywall. This includes wall separating UPS Room 2C and 2D near GL 5; new UPS Room wall must run through shaft to interior face of exterior wall. Please note, demo of existing drywall at UPS room wall terminations will be required to satisfy requ | RFI-89 | CoreSite Data Center | architectural | preconstruction | Per 7/21 DPR/Design Teams workshop, existing drainage risers were identified and in Storage 234 with no chase or covering shown in design. These risers are active and service the South-most UPS room CRAHs on level 4. However, the floor drains adjacent to the risers are not in service. Per 7/21 workshop, Corgan confirmed a furred wall to encase the active risers would be preferred instead of a standalone chase. To encase these risers, DPR proposes two additional E-type walls. see referenced marku | 0.7728 | 1 | 0.6617 | 1 | 0 | suggested, walls, room, ups room, ups, corgan, detail, workshop, instead, wall, dpr | 3
1 | RFI-0135 | Southline Office |  | structure | a, at the column location, we are not able to accommodate a continuous angle per detail-12/14/ S5.50 to support the bent plate due to the parapet post connection per detail-10/S8.00 and followed the bent plate and continuous angle arrangement as shown in model snippet-4 (Section A-A). But, per the discussion in the meeting with THC & SEOR on 11/3/2022, we have to extend the continuous support angle up to the beam end to support the bent plate, and the beams are to be erected from outside of the | RFI-0965 | Southline Office |  | structure | PSD Added Cantilevered C12x25 Detail Clarification | 0.7712 | 1 | 0.6907 | 1 | 0 | connection, edge, location, post, beam, clarification, slp1 | 4
1 | RFI-99 | CoreSite Data Center | architectural | preconstruction | Could a furred wall be constructed at this location? | RFI-159 | CoreSite Data Center | architectural | preconstruction | Please refer to the attached markups. 1) Contract documents reference wall type A6-DA U.O.N. across multiple locations. The detail for this wall type shows UL listing U419, which indicates a fire-rated assembly. However, it is unclear whether all walls labeled A6- DA U.O.N. are intended to be fire-rated by default, unless otherwise noted. 2) The drawings indicate a standalone column with two layers, but there is no corresponding detail or section that specifies the construction requirements or m | 0.7708 | 0.95 | 0.8075 | 1 | 0 | wall, location, constructed | 1
1 | RFI-99 | CoreSite Data Center | architectural | preconstruction | Could a furred wall be constructed at this location? | RFI-113 | CoreSite Data Center | architectural, interior_finishes | preconstruction | In Corridor 262 walls, there are 4 locations where existing plumbing risers will partially protrude outside of the walls. Per prior coordination with Design team, 3 of the 4 protrusion locations can be resolved with a furred bump out around the plumbing risers by sistering studs to the corridor 262 wall framing, see referenced markup for visualization. Protrusions will extend 2 1/2" off face wall and will run full height in Corridor 262. However, existing plumbing risers only protrude outside of | 0.7703 | 0.95 | 0.8035 | 1 | 0 | wall, furred, location | 1
1 | RFI-0893.2 | Southline Office | structural, architectural | structure | Please review and confirm the revised proposed sketches SK5 and SK6 (showing the addition of the steel plate per RFI 0893 and omitting the anchors) are acceptable per the attached email with Jonathan Chen/DES. | RFI-1426 | Southline Office | structural | structure | PSD Elevator Steel Embeds Between G4 and G5 Remediation Confirmation | 0.7698 | 0.95 | 0.7443 | 1 | 0 | email, steel, acceptable | 2
1 | RFI-0893.2 | Southline Office | structural, architectural | structure | Please review and confirm the revised proposed sketches SK5 and SK6 (showing the addition of the steel plate per RFI 0893 and omitting the anchors) are acceptable per the attached email with Jonathan Chen/DES. | RFI-0076 | Southline Office | structural_steel | structure | B1 Prefabricated Exterior Panel Attachment @ Stairs | 0.7675 | 0.95 | 0.83 | 1 | 0 | steel, plate, acceptable | 2
1 | RFI-1391 | Southline Office | architectural | envelope | B2 Lighthouse Access Door Dimension Confirmation 12, 2/A8.04, Submittal 4212 B2 PVC Membrane Shop Drawings Question: Per detail 2/A8.04 and 17/A5.12, the lighthouse access door is called out to be 30"x30". Per the approved PVC membrane shop drawings, including access door product data (submittal | RFI-1306 | Southline Office | architectural | interior_finishes | B1 Door 709F Dimension Confirmation 12, A9.20 Submittal 3938-08-1113 B1 - Doors Frames and Hardware_R1 Background: Door 709F is called out on the door schedule as an 8 foot door. DES’ architectural model was used to coordinate MEP around architectural elements. | 0.767 | 1 | 0.9265 | 0.5 | 0 | dimension confirmation 12, confirmation 12, door, submittal, detail, called, dimension, confirmation, dimension confirmation | 1
1 | RFI-0135 | Southline Office |  | structure | a, at the column location, we are not able to accommodate a continuous angle per detail-12/14/ S5.50 to support the bent plate due to the parapet post connection per detail-10/S8.00 and followed the bent plate and continuous angle arrangement as shown in model snippet-4 (Section A-A). But, per the discussion in the meeting with THC & SEOR on 11/3/2022, we have to extend the continuous support angle up to the beam end to support the bent plate, and the beams are to be erected from outside of the | RFI-1884 | Southline Office | architectural, structural | structure | B2 Cutting Parapet Kicker Detail 02, 5/SE1.2 (GPLA Structural Framing Deferred Submittal) Question: To aid in the completion of the roof screw remediation work, some of the parapet support kickers needed to be cut to access space. To remedy the kickers the proposal is to either replace the kicker stud in full or use | 0.7658 | 1 | 0.6613 | 1 | 0 | roof, able, support, parapet, acceptable | 4
1 | RFI-0893.2 | Southline Office | structural, architectural | structure | Please review and confirm the revised proposed sketches SK5 and SK6 (showing the addition of the steel plate per RFI 0893 and omitting the anchors) are acceptable per the attached email with Jonathan Chen/DES. | RFI-0929 | Southline Office | structural | structure | Please see attached "SK-MC-010" for queries noted below. 1 - Please verify roof screen post positions and spacings are acceptable or advise correct set-out. 2 - Please verify roof screen steel elevation arrangement as shown on section B-B is acceptable or advise other. Additional post added 6'-2"1/2 from GL 16 to pick up the differing panel requirements. 3 - Please verify typical roof screenwall framing levels as shown are acceptable or advise correct levels. 4 - If levels as shown are correct, | 0.7658 | 1 | 0.7659 | 1 | 0 | steel, plate, acceptable, addition | 2
1 | RFI-0347 | Southline Office | architectural, structural | interior_finishes | a: Please confirm the material & size of blocking/spacer @ base of rail @ lower roof. Q1b: Please confirm the material & size of blocking/spacer @ base of rail @ upper roof. Q1c: Please confirm the top of lower roof finish elevation. Q1d: Please confirm the top of upper roof finish elevation. Q1e: Please confirm if the edge of the stiffener plate is offset from the edge of the flange plate by ½". On the attached SK-19-1B: Q2a: Confirm the CL location of Ladder from gridline GA. Q2b: Confirm the | RFI-1923 | Southline Office | architectural, landscaping | interior_finishes | Onsite - Tree Staking Modification for High Wind Conditions 10 POST TO: Site - Onsite Current Set: 4/L8.10 Please review the attached file. High winds onsite are causing newly planted trees to break above the top tree tie. Please view attached photo of a damaged tree caused by th | 0.765 | 1 | 0.6576 | 1 | 0 | location, material, size, top | 1
1 | RFI-1391 | Southline Office | architectural | envelope | B2 Lighthouse Access Door Dimension Confirmation 12, 2/A8.04, Submittal 4212 B2 PVC Membrane Shop Drawings Question: Per detail 2/A8.04 and 17/A5.12, the lighthouse access door is called out to be 30"x30". Per the approved PVC membrane shop drawings, including access door product data (submittal | RFI-2003 | Southline Office | exterior_envelope, architectural | envelope | B1 Waterproofing Detail at Loading Dock and CMU Wall Intersection Confirmation 20 Markup | 0.7633 | 1 | 0.7424 | 1 | 0 | submittal, detail, dimension, confirmation | 2
1 | RFI-126 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit Door 1032A Issue Exit Door 1032A Issue Reference: Attached Document Question: The existing site condition where Door 1032A will be at do not allow for the required ADA clearances of 18" on the pull side and 12" on the push side of the door. Please confirm if the frame can be changed to a 1-1/2" face and the door shifted over to the east wall, that will allow the door to meet ADA clearance requirements. Suggested answer Change the frame to a 1-1/2" face and shift the fra | RFI-1422 | Southline Office | architectural | interior_finishes | 1) Approved B2 Exterior Door schedule (4425) shows door type E104 to receive hardware type 01A (no panic hardware indicated in the notes). All other doors shown on the emergency egress plan include door hardware types 06.A, 05.A or 03.A – all have panic hardware) RFI 1273 and RFI1180 highlight E104 as an egress door, but the hardware schedule was never updated. Please clarify if Door E104 is required to receive panic hardware. 2) G2.01 emergency egress plan does not show door E119 as an emergenc | 0.7631 | 1 | 0.8319 | 0.85 | 0 | document, door, required, exit, wall | 1
1 | RFI-130 | Intuitive Surgical MOB | architectural | mep_trim_out | Turnstile Location Turnstile Location Reference: Attached document Question: Drawing sheets A2.11, A5.11 & A9.71 do not indicate a dimension for the location of the turnstile. Per the current drawings, the centerline of the turnstile is approximately 14" south of gridline C.8. Please confirm if this scaled dimension is correct or provide the intended dimension for the centerline of the turnstile. | RFI-131 | Intuitive Surgical MOB | architectural | mep_trim_out | Dimension Clarification - Level 1 East Dimension Clarification - Level 1 East Reference: Floor Plan Level 1 A2.11/ Attached document Question: On level 1 east, the drawings do not indicate the dimensions between the interior walls in this corridor. Please provide the missing dimensions between the walls to ensure accurate field layout. | 0.7614 | 1 | 0.7111 | 1 | 0 | indicate, drawings, dimension, document, drawing | 2
1 | RFI-1391 | Southline Office | architectural | envelope | B2 Lighthouse Access Door Dimension Confirmation 12, 2/A8.04, Submittal 4212 B2 PVC Membrane Shop Drawings Question: Per detail 2/A8.04 and 17/A5.12, the lighthouse access door is called out to be 30"x30". Per the approved PVC membrane shop drawings, including access door product data (submittal | RFI-1307.1 | Southline Office | architectural, electrical, other | envelope | Ref: Detail 1; Sketch 1 ; A2.02 Post on: A2.02 1. This is a .1 RFI. Please confirm that it is acceptable to use Detail 1 in lieu of the detail RFI1307 by building wood curb below the panelboard as coordinated in meeting with DPR/Alliance/MCA. 2. See Sketch 1. The panelboard is 90" tall. Due to the curb which we need to build to allow roofing below the panelboard, we are unable to access the highest breaker in the panelboard. Please confirm that it is acceptable to provide a 4' (D) x 7' (W) x 12" | 0.761 | 0.95 | 0.8085 | 1 | 0 | access, detail, dimension | 1
1 | RFI-1391 | Southline Office | architectural | envelope | B2 Lighthouse Access Door Dimension Confirmation 12, 2/A8.04, Submittal 4212 B2 PVC Membrane Shop Drawings Question: Per detail 2/A8.04 and 17/A5.12, the lighthouse access door is called out to be 30"x30". Per the approved PVC membrane shop drawings, including access door product data (submittal | RFI-1178 | Southline Office | architectural, structural | structure | As shown on the structural / architectural drawings, the perimeter spandrels at PSD (all tiers) extend into the fire riser enclosures. Each enclosure has an access door for the valves at the risers. For adequate access, the bottom of each door needs to be between 2'-6" and 3'-0" AFF. Current architectural drawings show the access door at 2'-0" to bottom. Tier 1 does not have a spandrel and has a 2'-6" square door, whereas the rest of the floors have 2'-0" by 2'-9" doors. At tiers 2, 4, and 5 the | 0.7608 | 1 | 0.8245 | 0.85 | 0 | access door, door, drawings, access, detail | 1
1 | RFI-0135 | Southline Office |  | structure | a, at the column location, we are not able to accommodate a continuous angle per detail-12/14/ S5.50 to support the bent plate due to the parapet post connection per detail-10/S8.00 and followed the bent plate and continuous angle arrangement as shown in model snippet-4 (Section A-A). But, per the discussion in the meeting with THC & SEOR on 11/3/2022, we have to extend the continuous support angle up to the beam end to support the bent plate, and the beams are to be erected from outside of the | RFI-0033 | Southline Office |  | structure | is acceptable, Please confirm the same weld can be applied for stiffener to base plate in Detail-8/S5.43, as the stiffener to base plate weld is missing. 3. Detail-8/S5.43 does not show the weld details for stiffener to column flange. Please furnish the weld. 4. We understand that the Headed studs are to stop at concrete pedestal (top of Base plate to top of concrete pedestal). Please confirm or advise if these are required up to Level-1 Slab. 5. We understand that the 12" concrete perimeter cur | 0.757 | 1 | 0.7368 | 1 | 0 | able, field, section, column flange, connection, flange, marked, column, advise, weld, plate, slab, location, acceptable, model | 4
1 | RFI-1904 | Southline Office | architectural |  | PSD Abandoned Sleeves at Beams Confirmation Question: Per conve | RFI-1532 | Southline Office | architectural, fire_protection | structure | PSD Door Frame Header Gaps Caulking at Tiers 2-5 Confirmation 02, A2.03, A2.04, A2.05 Background: Due to the sloping of the beams at tiers 2-5, this created inconsistent gaps at the door fram | 0.7563 | 0.95 | 0.948 | 0.5 | 0 | confirmation, beams, psd | 1
1 | RFI-044 | Sutter Eden - Office TI |  | interior_finishes | Ref: Sheet A8.1 - Typical finish note #5 attached below. The typical finish note for the (N) drywall specifies a semi-gloss sheen for the new paint but does not indicate the color. Please confirm if the new color is to match the existing color in the waiting area 1160 | RFI-1956 | Southline Office | architectural | interior_finishes | B2 FWP-5 Trim Accent Paint Clarification 74, Submittal 5021 Question: Per returned submittal 5021 for the FWP Trim Accent Paint in the lobby, submittal comments requested either a flat or satin finish for this paint. Please confirm the FWP Trim Accent Paint finish is to differ from the detailed semi-glo | 0.7546 | 0.95 | 0.6802 | 1 | 0 | paint, sheet, finish | 4
1 | RFI-0347 | Southline Office | architectural, structural | interior_finishes | a: Please confirm the material & size of blocking/spacer @ base of rail @ lower roof. Q1b: Please confirm the material & size of blocking/spacer @ base of rail @ upper roof. Q1c: Please confirm the top of lower roof finish elevation. Q1d: Please confirm the top of upper roof finish elevation. Q1e: Please confirm if the edge of the stiffener plate is offset from the edge of the flange plate by ½". On the attached SK-19-1B: Q2a: Confirm the CL location of Ladder from gridline GA. Q2b: Confirm the | RFI-1724.1 | Southline Office | architectural, interior_finishes | interior_finishes | Ref: A4.03, RFI-1724, 12/A9.76, 08/A9.76 For the low walls in the servery there are the below questions; 1) Is the 2'0" countertop to be maintained throughout the counter length near GL6 and GLB? Detail 8/A9.76 has a 2'1" dimension and 12/A9.76 has 2'0 dimension. The arch drawings seem to scale to 2'6". Please advise. a) Please confirm green dashed line provided in RFI-1724 response is meant to show edge of countertop dimension. It appears this would create a less than 2'0" countertop depth. Ple | 0.7538 | 1 | 0.7891 | 1 | 0 | upper, elevation, location, finish, base, edge, top, lower | 1
1 | RFI-0347 | Southline Office | architectural, structural | interior_finishes | a: Please confirm the material & size of blocking/spacer @ base of rail @ lower roof. Q1b: Please confirm the material & size of blocking/spacer @ base of rail @ upper roof. Q1c: Please confirm the top of lower roof finish elevation. Q1d: Please confirm the top of upper roof finish elevation. Q1e: Please confirm if the edge of the stiffener plate is offset from the edge of the flange plate by ½". On the attached SK-19-1B: Q2a: Confirm the CL location of Ladder from gridline GA. Q2b: Confirm the | RFI-0928 | Southline Office | structural | interior_finishes | Please see attached "SK-MC-008" for queries 1-4. 1 - Please verify roof screenwall framing arrangement dimensions are acceptable or advise correct dimensions. 2 - Please verify roof screenwall framing levels as shown are acceptable or advise correct levels. 3 - Please verify dimension from underside of HSS member to kicker work point is acceptable or advise correct dimension. 4 - If bottom HSS level is incorrect (EL:23'-7"1/4) please clarify dimension from underside of HSS to kicker. Please ensu | 0.7534 | 1 | 0.7245 | 1 | 0 | roof, location, base, plate, 3/8, edge, top | 3
1 | RFI-1453 | Southline Office | millwork | interior_finishes | B2 - In Wall Bracket Connection Detail Confirmation | RFI-0525 | Southline Office | architectural | interior_finishes | Please confirm that intersections of rated interior walls may be built per the attached wall priority legend and per ASTM C754, where this standard does not conflict with wall priority legend noted. Please confirm that the below typical shaftwall bottom connection details are acceptable for construction and please confirm these details can be incorporated into the interior partition details on the A9 series drawings. Please confirm that the below typical shaftwall corner details are acceptable f | 0.7528 | 1 | 0.7228 | 1 | 0 | connection detail, wall, detail, connection | 3
1 | RFI-044 | Sutter Eden - Office TI |  | interior_finishes | Ref: Sheet A8.1 - Typical finish note #5 attached below. The typical finish note for the (N) drywall specifies a semi-gloss sheen for the new paint but does not indicate the color. Please confirm if the new color is to match the existing color in the waiting area 1160 | RFI-1179 | Southline Office |  | interior_finishes | PSD Paint Finishes Clarifications 00 and A9.20 Background: Finish Schedule on sheet A10.00 shows P-8 paint but is shown as "TBD". It also appears that colors P-7 and M-1 are the same. Question 1: Please confirm what P-8 color will be. Question 2: Please confirm if P-7 | 0.7514 | 1 | 0.7181 | 1 | 0 | color, paint, sheet, finish | 4
1 | RFI-044 | Sutter Eden - Office TI |  | interior_finishes | Ref: Sheet A8.1 - Typical finish note #5 attached below. The typical finish note for the (N) drywall specifies a semi-gloss sheen for the new paint but does not indicate the color. Please confirm if the new color is to match the existing color in the waiting area 1160 | RFI-1443.1 | Southline Office | architectural | interior_finishes | PSD Bike Enclosure Interior Walls Paint and Finish Confirmation_R1 1 PSD Bike Enclosure Interior Walls Paint and Finish Confirmation_R1 Reference: SLP1 - RFI 1443.1 - PSD Bike Enclosure Interior Walls Paint and Finish Confirmation_R1 SLP1 - RFI 1443 - PSD Bike Enclosure Interior Walls Paint and Finish Confirmation Marked up sheets A2.01 and A4.02 Submittal 3075 Bac | 0.7514 | 1 | 0.6157 | 1 | 0 | color, paint, sheet, match, finish | 4
1 | RFI-0135 | Southline Office |  | structure | a, at the column location, we are not able to accommodate a continuous angle per detail-12/14/ S5.50 to support the bent plate due to the parapet post connection per detail-10/S8.00 and followed the bent plate and continuous angle arrangement as shown in model snippet-4 (Section A-A). But, per the discussion in the meeting with THC & SEOR on 11/3/2022, we have to extend the continuous support angle up to the beam end to support the bent plate, and the beams are to be erected from outside of the | RFI-0017 | Southline Office | structural | structure | B1 Backup Bar and Run-off Tab Requirements for Moment and Framed Beams | 0.7513 | 1 | 0.7178 | 1 | 0 | able, column flange, d0-a20007-00 lpsc phase, connection, 5/16, d0-a20007-00 lpsc, brace, flange, brb, fillet weld, column, call, advise, weld, lpsc phase, lpsc, plate, d0-a20007-00, phase, end, fillet, acceptable, beams, beam | 4
1 | RFI-0135 | Southline Office |  | structure | a, at the column location, we are not able to accommodate a continuous angle per detail-12/14/ S5.50 to support the bent plate due to the parapet post connection per detail-10/S8.00 and followed the bent plate and continuous angle arrangement as shown in model snippet-4 (Section A-A). But, per the discussion in the meeting with THC & SEOR on 11/3/2022, we have to extend the continuous support angle up to the beam end to support the bent plate, and the beams are to be erected from outside of the | RFI-0017 | Southline Office | structural | structure | B1 Backup Bar and Run-off Tab Requirements for Moment and Framed Beams | 0.7513 | 1 | 0.7178 | 1 | 0 | able, column flange, d0-a20007-00 lpsc phase, connection, 5/16, d0-a20007-00 lpsc, brace, flange, brb, fillet weld, column, call, advise, weld, lpsc phase, lpsc, plate, d0-a20007-00, phase, end, fillet, acceptable, beams, beam | 4
1 | RFI-0927 | Southline Office | architectural | envelope | B2 Curtainwall Specification Clarifications | RFI-1340 | Southline Office | architectural | envelope | B2 Field Water Test Locations 10, A5.11 Question: Per RFI response 0927 and specification 01 4500 sec. 1.12.E, quality assurance water testing AAMA501.2 will be provided for the curtain wall, window wall, ribbed metal panel/curtain wall transition (s), flush metal panel/curtain wall tran | 0.7464 | 0.8 | 0.9348 | 1 | 0 | specification, curtainwall | 1
1 | RFI-0927 | Southline Office | architectural | envelope | B2 Curtainwall Specification Clarifications | RFI-1364 | Southline Office | architectural, structural | envelope | B2 Walk Off Mat Threshold Curbs 01, A2.01S, A9.22 Question: Per A2.01S, interior walk off mats were shown to be depressed 2" from back of walk off mat to face of slab for all locations. This did not take into account the curbs required for the storefront thresholds at the perimeter of the building. Please address | 0.7452 | 0.8 | 0.8373 | 1 | 0 | clarifications, curtainwall | 1
1 | RFI-1904 | Southline Office | architectural |  | PSD Abandoned Sleeves at Beams Confirmation Question: Per conve | RFI-1378.1 | Southline Office | architectural | envelope | PSD Tex-Cote Application Extent Confirmation_R1 1 PSD Tex-Cote Application Extent Confirmation_R1 Reference: SLP1 - RFI 1378.1 - PSD Tex-Cote Application Extent Confirmation_R1 SLP1 - RFI 1378 - PSD Tex-Cote Application Extent Confirmation Sheets A2.01 and A8.10 Approved Submittal 3056 - PSD Metal Shop Drawings Per conversations with Dale/DES, please confirm that the | 0.7442 | 0.95 | 0.909 | 0.5 | 0 | confirmation, beams, psd | 1
1 | RFI-044 | Sutter Eden - Office TI |  | interior_finishes | Ref: Sheet A8.1 - Typical finish note #5 attached below. The typical finish note for the (N) drywall specifies a semi-gloss sheen for the new paint but does not indicate the color. Please confirm if the new color is to match the existing color in the waiting area 1160 | RFI-1017 | Southline Office |  | interior_finishes | B1 P-2 and P-3 Paint Color Location Confirmation 00, A10.01, A10.02, and A4.02 Post On: A10.10 Background: Finish Schedule on sheet A10.00 has line items for P-2 and P-3 Accent Paints but no call outs on the finish plans A10.01, A10.02 a | 0.7437 | 1 | 0.6924 | 1 | 0 | color, paint, sheet, finish | 4
1 | RFI-0904 | Southline Office | concrete, structural |  | Per coordination with the SEOR, please confirm it is acceptable to cut the dowels in order to install the metal deck and drill and epoxy #4 dowels at 12" o.c. | RFI-0571 | Southline Office | concrete, structural | structure | .Please confirm it is acceptable to drill and epoxy the dowels located at the loading dock ramp per the requirements listed above. | 0.7431 | 1 | 0.9403 | 0.5 | 0 | epoxy, drill, acceptable, seor, order, dowels | 1
1 | RFI-0830.1 | Southline Office | electrical, other, architectural |  | Ref: Email Correspondence with Sipan/PMA dated 08.09.23; SK-1 Overall Mark up Post: SC2.01 (B1 SI-04 dated 05.19.23) This is confirming RFI per email correspondence with PMA. Please confirm the B1 exterior camera changes marked up on SK-1 are acceptable. | RFI-1762 | Southline Office | electrical |  | B1 - Day 1 Security Camera Locations and Tie In Location | 0.7427 | 1 | 0.8385 | 0.5 | 0 | exterior, mark, email, camera, pma | 1
1 | RFI-130 | Intuitive Surgical MOB | architectural | mep_trim_out | Turnstile Location Turnstile Location Reference: Attached document Question: Drawing sheets A2.11, A5.11 & A9.71 do not indicate a dimension for the location of the turnstile. Per the current drawings, the centerline of the turnstile is approximately 14" south of gridline C.8. Please confirm if this scaled dimension is correct or provide the intended dimension for the centerline of the turnstile. | RFI-121 | Intuitive Surgical MOB | architectural | mep_trim_out | Exit Passageway 1066 Mull-it-over Location Exit Passageway 1066 Mull-it-over Location Reference: Attached RFI Form/ Level 1/A2.11 Question: Current drawings have exit passageway 1066 south wall terminating to glass. Per Mull-it-over, the UL cannot terminate to glass and requires a vertical mullion to maintain fire rating. Please confirm this wall can be extended 41" south to terminate at the vertical mullion and maintain a fire rating. | 0.7414 | 1 | 0.6458 | 1 | 0 | drawings, drawing, south, location | 2
1 | RFI-044 | Sutter Eden - Office TI |  | interior_finishes | Ref: Sheet A8.1 - Typical finish note #5 attached below. The typical finish note for the (N) drywall specifies a semi-gloss sheen for the new paint but does not indicate the color. Please confirm if the new color is to match the existing color in the waiting area 1160 | RFI-049 | Sutter Eden - Office TI |  | interior_finishes | Ceiling Finish Change Confirmation | 0.7414 | 1 | 0.6624 | 1 | 0 | indicate, sheet, 1160, waiting, finish | 4
1 | RFI-130 | Intuitive Surgical MOB | architectural | mep_trim_out | Turnstile Location Turnstile Location Reference: Attached document Question: Drawing sheets A2.11, A5.11 & A9.71 do not indicate a dimension for the location of the turnstile. Per the current drawings, the centerline of the turnstile is approximately 14" south of gridline C.8. Please confirm if this scaled dimension is correct or provide the intended dimension for the centerline of the turnstile. | RFI-122 | Intuitive Surgical MOB | architectural | mep_trim_out | Access Panels in Stairwells Levels 1-5 Access Panels in Stairwells Levels 1-5 Reference: Reflected Celling Plans - Floors 1-4/ A2.31-A2.35 & Security Drawings Attached Question: Please provide the specific locations for the 18" x 18" access panels in the hard-lid ceiling of the stairwells in levels 1-4 to allow access to security wiring for the card readers | 0.7401 | 0.95 | 0.6995 | 1 | 0 | drawings, drawing, location | 2
1 | RFI-1651 | Southline Office | architectural, landscaping, structural |  | REF: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 POST TO: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 Please review the attached file and provide responses to Items 1 and 2 per BrightView's RFI #019. | RFI-1983 | Southline Office | landscaping, architectural | interior_finishes | REF: Site - B2 Current Set: L1.01, L1.11A, L1.11B, L2.10A, L2.10B, L3.10, L4.01, L4.02, L4.10, L4.11 POST TO: Site - B2 Current Set: L1.01, L1.11A, L1.11B, L2.10A, L2.10B, L3.10, L4.01, L4.02, L4.10, L4.11 Please review the attached file. Per the site walk on 9/25/24 and team meeting on 10/09/24, please confirm that the following scope changes to the Building 2 site vegetable garden are valid: Bon Appetit and Farmscape will be taking over the soil, finish irrigation drip lines, and planting mate | 0.7319 | 1 | 0.7959 | 0.5 | 0 | brightview, site, file, post | 1
1 | RFI-1651 | Southline Office | architectural, landscaping, structural |  | REF: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 POST TO: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 Please review the attached file and provide responses to Items 1 and 2 per BrightView's RFI #019. | RFI-1440 | Southline Office | architectural, electrical, landscaping, civil_site |  | REF: Site - B2 Current Set: E1.00 POST TO: Site - B2 Current Set: E1.00 Please review the attached file. Please confirm with no exception the B2 Site Photometric Study as designed per the coordination meeting between Silverman, Sprig, DPR, DES and HLB. | 0.7318 | 0.95 | 0.8678 | 0.5 | 0 | site, file, post | 1
1 | RFI-0522 | Southline Office | civil_site |  | Onsite - Storm Drain - REM Trash Capture Filter Substitution | RFI-1274 | Southline Office | architectural, landscaping, civil_site | mep_rough_in | Per SI-05, Details 10/L8.02 and 10/L8.04 show perforated pipe for draingage below the linear LED (E13) within the concrete hardscape. This piping does not appear to be included in the site utility drawing C4.2 to tie into the storm drain system. Please provide an update to drawing C4.2 to incorporate the perforated pipe as shown in the landscaping details. | 0.7305 | 1 | 0.8052 | 0.5 | 0 | onsite, storm, drain, storm drain | 1
1 | RFI-130 | Intuitive Surgical MOB | architectural | mep_trim_out | Turnstile Location Turnstile Location Reference: Attached document Question: Drawing sheets A2.11, A5.11 & A9.71 do not indicate a dimension for the location of the turnstile. Per the current drawings, the centerline of the turnstile is approximately 14" south of gridline C.8. Please confirm if this scaled dimension is correct or provide the intended dimension for the centerline of the turnstile. | RFI-0811 | Southline Office | structural, architectural | interior_finishes | Please verify dimensions shown on the attached plan to the ends of the HSS Flat framing. Note : Where collector chord is required (e.g. Grid 9) the end of the HSS has been positioned 3" from the collector chord. Please verify dimensions to position HSS Beams off Grid D (Grid 6-11 only). Please verify dimensions to position HSS Beams off Grid D (Grid 11-13 only). Please verify dimensions to position HSS Beams off Grid C. Please verify dimensions to position HSS Beams off Grid B. Where there is no | 0.7301 | 1 | 0.7221 | 0.85 | 0 | sheets, dimension, document, location | 1
1 | RFI-108 | Intuitive Surgical MOB | architectural | mep_trim_out | FEC's Lock Per Spec FEC's Lock Per Spec Reference: Attached document Question: Fire extinguisher cabinets call out for a cam lock. Per fire marshal feedback on previous jobs in this jurisdiction, the city takes exception to having a cabinet with a lock. Please confirm fire extinguisher cabinets can be provided without a cam lock. If so, please provide proposed spec. | RFI-1296 | Southline Office | architectural | interior_finishes | B2 DW FEC Detail 137 01, A9.11 Question: The specified FEC in room 137 will not fit in the wall given detail 14/A9.11 and the necessary clearance fill of bat insulation. Please confirm if it is acceptable to switch to a semi-recessed FEC in this room. If yes, please specify which one, we've included the FEC submittal sheets fo | 0.7237 | 0.95 | 0.759 | 0.85 | 0 | fec, document, spec | 1
1 | RFI-146 | Silicon Valley Office | civil |  | Storm Drain Pump Manhole Detail | RFI-1274 | Southline Office | architectural, landscaping, civil_site | mep_rough_in | Per SI-05, Details 10/L8.02 and 10/L8.04 show perforated pipe for draingage below the linear LED (E13) within the concrete hardscape. This piping does not appear to be included in the site utility drawing C4.2 to tie into the storm drain system. Please provide an update to drawing C4.2 to incorporate the perforated pipe as shown in the landscaping details. | 0.7228 | 1 | 0.7793 | 0.5 | 0 | storm, detail, drain, storm drain | 1
1 | RFI-146 | Silicon Valley Office | civil |  | Storm Drain Pump Manhole Detail | RFI-1192 | Southline Office | civil |  | During potholing PEC discovered an unmarked existing storm drain pipe at a depth of about 6'. The pipe runs about 21" from one corner to the other of the #7 Vault (Location 6). As shown in image 1 below. To avoid this conflict, PEC is moving this vault 36" to the west. As shown in image 2 as well as the attached file. This RFI is being sent to seek confirmation that this move is acceptable as per the discussion on teams meeting held on 12.15.23 | 0.7223 | 1 | 0.7777 | 0.5 | 0 | storm, detail, drain, storm drain | 1
1 | RFI-0422 | Southline Office |  | envelope | Please confirm it is acceptable to change the edge of slab dimension to 10 1/4" to align the curtainwall system (attached) | RFI-2083 | Southline Office |  | envelope | There are a couple of exposed flashing conditions at level 3 balconies. 1. RFI 598 added curbs at the Level 3 balconies to provide a surface for applying the hot rubberized waterproofing at the columns. These were to extend 10" off of gridline into the balcony face. However, upon reviewing the as- built conditions, the curbs were oversized by 4-5" in either direction typically due to a misreading of the RFI in the field. Thus, the pavers are not able to extend under the metal column covers, and | 0.7184 | 1 | 0.5885 | 1 | 0 | dimension, acceptable, slab, system | 4
1 | RFI-0904 | Southline Office | concrete, structural |  | Per coordination with the SEOR, please confirm it is acceptable to cut the dowels in order to install the metal deck and drill and epoxy #4 dowels at 12" o.c. | RFI-0658 | Southline Office | concrete |  | PSD Drill and Epoxy Ramp Dowels on GB Wall at Tier 1 Confirmation | 0.7182 | 1 | 0.8572 | 0.5 | 0 | epoxy, cut, drill, acceptable, dowels | 1
1 | RFI-0522 | Southline Office | civil_site |  | Onsite - Storm Drain - REM Trash Capture Filter Substitution | RFI-0869 | Southline Office | architectural, civil_site, concrete | structure | Onsite - B2 Stairs Slot Storm Drain Tie-in | 0.7175 | 1 | 0.855 | 0.5 | 0 | onsite, storm, drain, storm drain | 1
1 | RFI-1434.1 | Southline Office |  |  | Onsite - B1 North East Storm drain catch basin installation 1 Onsite - B1 North East Storm drain catch basin installation Reference Drawing: Onsite C4.2 Similar to RFI 1434, the 8" SD line and SDO has been installed on the east side of building 1 in the bioretention area. The work was installed on 7/12/23 and RFI-688 was responded and closed out on 7/19/23 which include updat | RFI-1860 | Southline Office |  | foundation | Onsite - PSD North East Bioretention retaining wall We would like permission to install a hook bar and dowel into existing PSD footing. See att | 0.7163 | 1 | 0.7473 | 0.5 | 0 | north, onsite, bioretention area, drain, east, bioretention, north east, installed, area | 4
1 | RFI-130 | Intuitive Surgical MOB | architectural | mep_trim_out | Turnstile Location Turnstile Location Reference: Attached document Question: Drawing sheets A2.11, A5.11 & A9.71 do not indicate a dimension for the location of the turnstile. Per the current drawings, the centerline of the turnstile is approximately 14" south of gridline C.8. Please confirm if this scaled dimension is correct or provide the intended dimension for the centerline of the turnstile. | RFI-119 | Intuitive Surgical MOB | architectural | mep_trim_out | Light Fixture in Exit 1066 Light Fixture in Exit 1066 Reference: Electrical Lighting Plan Level 1/E3.1 & Attached Photos Question: Looking at the electrical drawings, there is no callout or a detail indicating a light fixture in the 1066 space. Please confirm if a light fixture is required in this space, and if so, provide the fixture type and location. The light fixtures in the exit passageway 1066 are existing. | 0.7149 | 0.95 | 0.6156 | 1 | 0 | drawings, drawing, location | 2
1 | RFI-0904 | Southline Office | concrete, structural |  | Per coordination with the SEOR, please confirm it is acceptable to cut the dowels in order to install the metal deck and drill and epoxy #4 dowels at 12" o.c. | RFI-0192 | Southline Office | concrete | envelope | As discussed on SEOR site visit on 1/6/23, the rebar splices occurring at the elevator cold joint prohibit waterproofing installation requirements (Manufacturer requires 6" clearance, 4" is acceptable). To achieve the clearance required for the waterproofing install, please confirm it is acceptable to cut #10 bottom reinforcement rebar (identified on 1/6/23 walk clouded on page 3/4, spray painted orange) @ elevator cold joint. Please confirm this is acceptable. Note current installation of botto | 0.7146 | 1 | 0.8452 | 0.5 | 0 | cut, install, acceptable, seor | 1
1 | RFI-108 | Intuitive Surgical MOB | architectural | mep_trim_out | FEC's Lock Per Spec FEC's Lock Per Spec Reference: Attached document Question: Fire extinguisher cabinets call out for a cam lock. Per fire marshal feedback on previous jobs in this jurisdiction, the city takes exception to having a cabinet with a lock. Please confirm fire extinguisher cabinets can be provided without a cam lock. If so, please provide proposed spec. | RFI-1892.1 | Southline Office | architectural, structural | commissioning | Floor Uniformity and Flatness Confirmation 1 Floor Uniformity and Flatness Confirmation Referenced Documents: S2.3, Architectural Field Report 3, CTS Open Inspection Exception, Spec Section 033000.3.6 Question: Per CTS inspection report 063, issued on October 19, 2023, testing was conducted for Floor Flatness (FF) and Floor Levelness (FL). While Floor Levelness (26.43) w | 0.7142 | 0.95 | 0.6184 | 0.85 | 0 | document, spec, exception | 1
1 | RFI-1904 | Southline Office | architectural |  | PSD Abandoned Sleeves at Beams Confirmation Question: Per conve | RFI-0966 | Southline Office | concrete, architectural |  | PSD Tier 3 Reveals on Spandrels and Upturned Beams Confirmation | 0.7139 | 1 | 0.8429 | 0.5 | 0 | confirmation, beams, beams confirmation, psd | 1
1 | RFI-0927 | Southline Office | architectural | envelope | B2 Curtainwall Specification Clarifications |  | Southline Office |  | envelope | As clarified during bid time, the Walters and Wolf curtainwall group noted some deviations to the current curtainwall performance specifications. Please review the markups and proposed modifications to the project specification sections 01 4500, 08 4313, and 08 8000. Highlighted items in red are either requested to be removed or modified as they are either not applicable or cannot be complied with. Please confirm if the modifications are acceptable and revise the project specifications with the | 0.7132 | 0.95 | 0.699 | 1 | 0 | specification, clarifications, curtainwall | 4
1 | RFI-1946 | Southline Office |  | mep_rough_in | Offsite - R20 Dollar linden Comm Riser pole quadrant confirmation 0 For the marked comm riser pole on South Linden, please provide the quadrants that the risers will need to be installed to: Sonic - 1(EA) 4" ATT - 4(EA) 4" Astound - 1 (EA) 4" Comcast - 1(EA) 4" Otherwise, please | RFI-2049 | Southline Office |  | mep_rough_in | Offsite - R20 Tanforan Missing existing comcast box 0 The current JT plans call for PEC to tie into an existing Comcast Pullbox. (shown in the marked area). On site the comcast pullbox is not present. (Upon further investigation it seems that the pullbox might have been removed/ moved during | 0.7129 | 1 | 0.5726 | 1 | 0 | r20, comcast, marked, offsite | 4
1 | RFI-1946 | Southline Office |  | mep_rough_in | Offsite - R20 Dollar linden Comm Riser pole quadrant confirmation 0 For the marked comm riser pole on South Linden, please provide the quadrants that the risers will need to be installed to: Sonic - 1(EA) 4" ATT - 4(EA) 4" Astound - 1 (EA) 4" Comcast - 1(EA) 4" Otherwise, please | RFI-1989 | Southline Office |  | mep_rough_in | Offsite - R20 Tanforan AT&T Conduit layout confirmation 0 The existing AT&T Manhole has 4 knockouts on each wall face. On the northern face of the manhole, the 4 knockouts are already in use with the conduits that were installed in the previous phase of R20 construction. The curre | 0.7121 | 1 | 0.5722 | 1 | 0 | r20, confirmation, installed, offsite | 4
1 | RFI-0904 | Southline Office | concrete, structural |  | Per coordination with the SEOR, please confirm it is acceptable to cut the dowels in order to install the metal deck and drill and epoxy #4 dowels at 12" o.c. | RFI-0595 | Southline Office | concrete |  | Please confirm it is acceptable to replace the damaged dowels with drill & epoxy dowels. The epoxy adhesive to be used is the Hilti HIT-RE 500 V3. If so, please confirm it is acceptable to follow the embedment lengths provided by the manufacturer found on the last sheet of this RFI or please provide new embedment lengths. | 0.711 | 1 | 0.8335 | 0.5 | 0 | epoxy, drill, epoxy dowels, acceptable, dowels | 1
1 | RFI-1904 | Southline Office | architectural |  | PSD Abandoned Sleeves at Beams Confirmation Question: Per conve | RFI-0335 | Southline Office | architectural, concrete | structure | Detail 1/S4.00 shows a flat/level top at the spandrel beam where the railing is to be installed. Detail 8/ | 0.7106 | 1 | 0.832 | 0.5 | 0 | confirmation, beams, beams confirmation, psd | 1
1 | RFI-1904 | Southline Office | architectural |  | PSD Abandoned Sleeves at Beams Confirmation Question: Per conve | RFI-1378 | Southline Office | architectural |  | PSD Tex-Cote Application Extent Confirmation 10, A8.02, A8.03, and A8.04 Per conversations with Dale/DES and Dona/DES and the attached mark-up, please confirm that the extent of the Tex-Cote on the Spandrels, Upturned Beams and Columns is accepta | 0.708 | 0.95 | 0.8817 | 0.5 | 0 | confirmation, beams, psd | 1
1 | RFI-146 | Silicon Valley Office | civil |  | Storm Drain Pump Manhole Detail | RFI-1437 | Southline Office | architectural, civil_site | foundation | REF: Site - B2 Current Set: C4.1, L8.06 POST TO: Site - B2 Current Set: C4.1 Please see the attached file. As shown on the Building 2 utility plan C4.1, there is a 6-in storm drain pipe running below the site CMU wall. This storm drain has already been installed per plan. Please confirm if the clearance with the storm drain will not require any changes to the CMU footing. If this is not sufficient clearance, please provide direction. | 0.708 | 1 | 0.8233 | 0.5 | 0 | storm, detail, drain, storm drain | 1
1 | RFI-1909 | Southline Office |  | interior_finishes | that was provided for the terracotta tile layout around the piping in Tier 1 is acceptable? | RFI-1233 | Southline Office |  | mep_rough_in | PSD Storage Room 117 CMU Wall Shift Confirmation 01 Attached SSK-01 Background: DPR GC provided curb layout for the CMU curbs at Tier 1 MPOE, Fire Command, and Storage Room (117). When DPR Concrete poured these curbs, the exterior edge of | 0.7075 | 0.95 | 0.6867 | 0.7 | 0 | layout, tier, acceptable | 4
1 | RFI-1434.1 | Southline Office |  |  | Onsite - B1 North East Storm drain catch basin installation 1 Onsite - B1 North East Storm drain catch basin installation Reference Drawing: Onsite C4.2 Similar to RFI 1434, the 8" SD line and SDO has been installed on the east side of building 1 in the bioretention area. The work was installed on 7/12/23 and RFI-688 was responded and closed out on 7/19/23 which include updat | RFI-2111 | Southline Office |  |  | Offsite - BART/SB Storm drain lines at Huntington Offsite - BART/SB Storm drain lines at Huntington Reference Drawing: Offsite Drawing C6.6 A&B is seeking clarification and direction on the following storm drain issues encountered on Hutington. Question 1: A&B is proposing to connect the new SD to the existing as shown in the attached. There is one additional SD pipe found in the field that is not on the plan. Please confirm if this line needs to be connected to a new DB. If | 0.707 | 1 | 0.7044 | 0.5 | 0 | storm, drain, east, drawing, line, storm drain | 4
1 | RFI-146 | Silicon Valley Office | civil |  | Storm Drain Pump Manhole Detail | RFI-0353 | Southline Office | civil_site | envelope | Suggested answer Ref: C10.4 There is currently no City Standard or Contract Drawing defining details for the 12" Storm Drain lateral penetrations at bioretention areas. Please provide details for lateral Storm Drain penetrations including but not limited to details for rebar, waterproofing, etc. | 0.7059 | 1 | 0.8165 | 0.5 | 0 | storm, detail, drain, storm drain | 1
1 | RFI-1651 | Southline Office | architectural, landscaping, structural |  | REF: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 POST TO: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 Please review the attached file and provide responses to Items 1 and 2 per BrightView's RFI #019. | RFI-1417 | Southline Office | architectural, landscaping, masonry |  | REF: Site - B2 Current Set: L1.11A, L1.11B POST TO: Site B2-Current Set: L1.11A, L1.11B Per DES and DPR constructability review meeting on 02/06/24, DES provided a sketch providing detail on the LED placement within the unit pavers at the Building 2 entry plaza. BrightView has confirmed that this layout is constructable. Please confirm the attached exhibit will be used and provide an updated plan/detail to the drawing set. | 0.7042 | 0.95 | 0.869 | 0.5 | 0 | brightview, site, post | 1
1 | RFI-1651 | Southline Office | architectural, landscaping, structural |  | REF: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 POST TO: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 Please review the attached file and provide responses to Items 1 and 2 per BrightView's RFI #019. | RFI-1988 | Southline Office | signage, civil_site, architectural |  | REF: Site - Onsite Current Set: C2.13 POST TO: Site - Onsite Current Set: C2.13 Please review the attached file. The PSD rideshare inlet was striped according to striping plan C2.13 of the onsite drawing plans as shown on page 3. During the B1/PSD punch walk on 10/11/24 , DES requested the striping to be removed. Please confirm that this striping is to be removed and provide an updated striping plan. Please note, this removal will incur cost | 0.7036 | 0.95 | 0.7589 | 0.5 | 0 | site, file, post | 1
1 | RFI-0522 | Southline Office | civil_site |  | Onsite - Storm Drain - REM Trash Capture Filter Substitution | RFI-1437 | Southline Office | architectural, civil_site | foundation | REF: Site - B2 Current Set: C4.1, L8.06 POST TO: Site - B2 Current Set: C4.1 Please see the attached file. As shown on the Building 2 utility plan C4.1, there is a 6-in storm drain pipe running below the site CMU wall. This storm drain has already been installed per plan. Please confirm if the clearance with the storm drain will not require any changes to the CMU footing. If this is not sufficient clearance, please provide direction. | 0.7035 | 1 | 0.8084 | 0.5 | 0 | onsite, storm, drain, storm drain | 1
1 | RFI-146 | Silicon Valley Office | civil |  | Storm Drain Pump Manhole Detail | RFI-0869 | Southline Office | architectural, civil_site, concrete | structure | Onsite - B2 Stairs Slot Storm Drain Tie-in | 0.7034 | 1 | 0.808 | 0.5 | 0 | storm, detail, drain, storm drain | 1
1 | RFI-1453 | Southline Office | millwork | interior_finishes | B2 - In Wall Bracket Connection Detail Confirmation | RFI-1511.1 | Southline Office | architectural | interior_finishes | small bump out be? Or alternatively worded, what should the overall width of this pocket be? Should there be a drywall layer around this niche (green)? In the servery – detail IA-204, are there changes to backing for this wall? | 0.7024 | 0.8 | 0.7853 | 1 | 0 | wall, detail | 3
1 | RFI-1453 | Southline Office | millwork | interior_finishes | B2 - In Wall Bracket Connection Detail Confirmation | RFI-0855.1 | Southline Office | structural, architectural | interior_finishes | Please verify that at these wing walls, the posts are only required at the end? | 0.7022 | 0.8 | 0.6941 | 1 | 0 | wall, detail | 3
1 | RFI-1651 | Southline Office | architectural, landscaping, structural |  | REF: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 POST TO: Site - Offsite Current Set: L1.10, 6/S0.01, 7/S0.01 Please review the attached file and provide responses to Items 1 and 2 per BrightView's RFI #019. | RFI-1720 | Southline Office | landscaping | preconstruction | REF: Site - Offsite Current Set: L3.00, L3.10.1, 3.20, RFI #1287, 1653, Submittal #4309, 4407, 4540 POST TO: Site - Offsite Current Set: L3.20 Please forward this RFI to Cynthia Greenburg with BART for review. Please review the attached file. Per the response to Submittal 4540-1, BART review states that the items spec'd in RFI 1287 response are unacceptable except for the controller. It is also stated that numerous missing items which were previously sent and approved in offsite irrigation submi | 0.7021 | 1 | 0.7042 | 0.5 | 0 | site, file, post, offsite | 3
1 | RFI-0830.1 | Southline Office | electrical, other, architectural |  | Ref: Email Correspondence with Sipan/PMA dated 08.09.23; SK-1 Overall Mark up Post: SC2.01 (B1 SI-04 dated 05.19.23) This is confirming RFI per email correspondence with PMA. Please confirm the B1 exterior camera changes marked up on SK-1 are acceptable. | RFI-0843 | Southline Office | architectural, electrical, other | mep_rough_in | B1 Exterior Camera Rough-in Location | 0.7009 | 1 | 0.7997 | 0.5 | 0 | exterior, b1 exterior, mark, post, b1 exterior camera, acceptable, camera, overall, sk-1 overall mark, exterior camera, sk-1, sc2 | 2
1 | RFI-0522 | Southline Office | civil_site |  | Onsite - Storm Drain - REM Trash Capture Filter Substitution | RFI-0757 | Southline Office | civil_site, landscaping | mep_rough_in | Please show where the drains for the linear lights in concrete paving tie into the storm drain system. Please provide a detail for how to tie the light drain piping into the storm drain. | 0.6998 | 1 | 0.7958 | 0.5 | 0 | onsite, storm, drain, storm drain | 1
1 | RFI-1434.1 | Southline Office |  |  | Onsite - B1 North East Storm drain catch basin installation 1 Onsite - B1 North East Storm drain catch basin installation Reference Drawing: Onsite C4.2 Similar to RFI 1434, the 8" SD line and SDO has been installed on the east side of building 1 in the bioretention area. The work was installed on 7/12/23 and RFI-688 was responded and closed out on 7/19/23 which include updat | RFI-2013 | Southline Office | lighting | foundation | REF: Site - Onsite Current Set: L1.20A POST TO: Site - Onsite Current Set: L1.20A Please review the attached file. The southern most bollard along the sidewalk east of building 1 cannot be installed per plan as the sloping will not allow for a 2' deep foundation. Please advise how to proceed with lighting in this area. Suggested answer DPR suggests two different options for lighting. 1. Sprig can install the bollard at the location shown in plan with a minimum 5' deep. This foundation will requi | 0.6996 | 1 | 0.6864 | 0.5 | 0 | building, onsite, bioretention area, east, side, bioretention, installed, area | 4
1 | RFI-0422 | Southline Office |  | envelope | Please confirm it is acceptable to change the edge of slab dimension to 10 1/4" to align the curtainwall system (attached) | RFI-0700.1 | Southline Office | concrete | structure | Please confirm if the edge of the curb from G2 to G3 should align with the face of curb from G3 to G5 or if both of them should be 2' wide and not align. T1 Please confirm a 2' gap is sufficient for the drain located near the GC/G3 intersection. Tier 2: Please review the attached markup of the edge of slab and provide comments if the design intent does not match the markup. T2 Please confirm that the edge of the main slab between G13 and G14 will be 1' south of GC to align with the south face of | 0.6991 | 0.95 | 0.677 | 0.85 | 0 | edge, slab, align | 4
1 | RFI-1434.1 | Southline Office |  |  | Onsite - B1 North East Storm drain catch basin installation 1 Onsite - B1 North East Storm drain catch basin installation Reference Drawing: Onsite C4.2 Similar to RFI 1434, the 8" SD line and SDO has been installed on the east side of building 1 in the bioretention area. The work was installed on 7/12/23 and RFI-688 was responded and closed out on 7/19/23 which include updat | RFI-2071 | Southline Office |  | interior_finishes | Per field walk with DES/DPR, we will be extending the slot drains at Building 2 with aluminum sheets to meet the finished grades at Building 2. Mas Metal will be cutting the filler piece and welding to the top of existing drain in order to be flush with the finish elevations. See attached for sketch Please confirm this is acceptable. | 0.6985 | 0.95 | 0.7379 | 0.5 | 0 | building, onsite, drain | 4
1 | RFI-1946 | Southline Office |  | mep_rough_in | Offsite - R20 Dollar linden Comm Riser pole quadrant confirmation 0 For the marked comm riser pole on South Linden, please provide the quadrants that the risers will need to be installed to: Sonic - 1(EA) 4" ATT - 4(EA) 4" Astound - 1 (EA) 4" Comcast - 1(EA) 4" Otherwise, please | RFI-2050 | Southline Office |  | mep_rough_in | Offsite - R20 Tanforan PGE and JT Drawing Clarification 0 Currently the JT plan page JT4.0 shows the conduits being stubbed out and ending before the Dollar Tanforan intersection (clouded in the attached plans.) However, the PGE plans, shows the spare conduit D6 going out and being stub | 0.6977 | 0.95 | 0.5802 | 1 | 0 | r20, dollar, offsite | 4
1 | RFI-0830.1 | Southline Office | electrical, other, architectural |  | Ref: Email Correspondence with Sipan/PMA dated 08.09.23; SK-1 Overall Mark up Post: SC2.01 (B1 SI-04 dated 05.19.23) This is confirming RFI per email correspondence with PMA. Please confirm the B1 exterior camera changes marked up on SK-1 are acceptable. | RFI-1841.1 | Southline Office | architectural, electrical, lighting, landscaping |  | REF: Site - Onsite Current Set: L1.20B, RFI 1841 POST TO: Site - Onsite Current Set: L1.20B Please review the attached file. Per the email correspondence attached, two E1 pedestrian light poles are to be moved toward the sidewalk to align and not conflict with underground fiber utilities. Please note, moving the north E1 will result in cost | 0.6975 | 1 | 0.6834 | 0.5 | 0 | post, email, email correspondence, correspondence | 1
1 | RFI-108 | Intuitive Surgical MOB | architectural | mep_trim_out | FEC's Lock Per Spec FEC's Lock Per Spec Reference: Attached document Question: Fire extinguisher cabinets call out for a cam lock. Per fire marshal feedback on previous jobs in this jurisdiction, the city takes exception to having a cabinet with a lock. Please confirm fire extinguisher cabinets can be provided without a cam lock. If so, please provide proposed spec. | RFI-1170.1 | Southline Office |  | interior_finishes | Per the response to RFI 1170, fire extinguisher cabinets were relocated, and one additional cabinet was added. However, the relocation of these cabinets is not clear. Please provide an updated map that shows the exact dimension off of column for the FEC placement. | 0.6961 | 1 | 0.6087 | 0.85 | 0 | fec, extinguisher, extinguisher cabinets, cabinets, cabinet, fire, fire extinguisher, fire extinguisher cabinets | 4
1 | RFI-1453 | Southline Office | millwork | interior_finishes | B2 - In Wall Bracket Connection Detail Confirmation | RFI-1997 | Southline Office | architectural | interior_finishes | B2 Casework Modification for Outlet Clash in Conf 1 01, A4.02, A6.02, Submittal 4634 Question: For the base cabinets in Conference Room 102, our approved shop drawings in submittal 4634-2 have the run of cabinets all equal width in the niche. In RFI 1881, it was confirmed that grommets were reque | 0.6938 | 0.8 | 0.651 | 1 | 0 | wall, detail | 4
1 | RFI-1453 | Southline Office | millwork | interior_finishes | B2 - In Wall Bracket Connection Detail Confirmation | RFI-1479 | Southline Office | architectural | interior_finishes | The conference rooms have two C4A.a walls between them. This calls for insulation and 2 layers of gyp on each side of the walls. It is not possible to put drywall on the backside of each of these walls and DPR Drywall has assumed this wall would be built similar to the chase wall detail, wall type E.a, but with insulation in the studs. There would be insulation but only two layers of gypsum on the outside of the walls. Please confirm if this assumption is correct or if a different detail should | 0.6933 | 0.8 | 0.7576 | 1 | 0 | wall, detail | 3
1 | RFI-1434.1 | Southline Office |  |  | Onsite - B1 North East Storm drain catch basin installation 1 Onsite - B1 North East Storm drain catch basin installation Reference Drawing: Onsite C4.2 Similar to RFI 1434, the 8" SD line and SDO has been installed on the east side of building 1 in the bioretention area. The work was installed on 7/12/23 and RFI-688 was responded and closed out on 7/19/23 which include updat | RFI-1842 | Southline Office | architectural, concrete, landscaping | foundation | REF: Site - B2 Current Set: L1.12A POST TO: Site - B2 Current Set: L1.12A Please review the attached file. Per plan L1.12A, a drinking fountain is to be installed at the picnic area south of Building 2. This fountain will require a concrete footing. Please review the attached cut sheet of the fountain and provide dimensions for the concrete footing. Suggested answer DPR recommends installing a rectangular or circular footing for the drinking fountain. | 0.6929 | 1 | 0.6698 | 0.5 | 0 | building, onsite, installed, area | 4
1 | RFI-108 | Intuitive Surgical MOB | architectural | mep_trim_out | FEC's Lock Per Spec FEC's Lock Per Spec Reference: Attached document Question: Fire extinguisher cabinets call out for a cam lock. Per fire marshal feedback on previous jobs in this jurisdiction, the city takes exception to having a cabinet with a lock. Please confirm fire extinguisher cabinets can be provided without a cam lock. If so, please provide proposed spec. | RFI-1997 | Southline Office | architectural | interior_finishes | B2 Casework Modification for Outlet Clash in Conf 1 01, A4.02, A6.02, Submittal 4634 Question: For the base cabinets in Conference Room 102, our approved shop drawings in submittal 4634-2 have the run of cabinets all equal width in the niche. In RFI 1881, it was confirmed that grommets were reque | 0.6916 | 1 | 0.4853 | 0.85 | 0 | document, spec, cabinets, cabinet | 4
1 | RFI-0522 | Southline Office | civil_site |  | Onsite - Storm Drain - REM Trash Capture Filter Substitution | RFI-0353 | Southline Office | civil_site | envelope | Suggested answer Ref: C10.4 There is currently no City Standard or Contract Drawing defining details for the 12" Storm Drain lateral penetrations at bioretention areas. Please provide details for lateral Storm Drain penetrations including but not limited to details for rebar, waterproofing, etc. | 0.6908 | 0.95 | 0.8244 | 0.5 | 0 | storm, drain, storm drain | 1
1 | RFI-0830.1 | Southline Office | electrical, other, architectural |  | Ref: Email Correspondence with Sipan/PMA dated 08.09.23; SK-1 Overall Mark up Post: SC2.01 (B1 SI-04 dated 05.19.23) This is confirming RFI per email correspondence with PMA. Please confirm the B1 exterior camera changes marked up on SK-1 are acceptable. | RFI-0916 | Southline Office | electrical, mechanical | mep_trim_out | B1 Electrical Circuit for Added BMS Panel | 0.6884 | 1 | 0.7581 | 0.5 | 0 | confirming, changes, mark, post, email, acceptable, dated, email correspondence, dated 08, correspondence, marked | 1
1 | RFI-108 | Intuitive Surgical MOB | architectural | mep_trim_out | FEC's Lock Per Spec FEC's Lock Per Spec Reference: Attached document Question: Fire extinguisher cabinets call out for a cam lock. Per fire marshal feedback on previous jobs in this jurisdiction, the city takes exception to having a cabinet with a lock. Please confirm fire extinguisher cabinets can be provided without a cam lock. If so, please provide proposed spec. | RFI-057 | Sutter Eden - Office TI |  | interior_finishes | ACD 009 Door Hardware & Security Clarifications | 0.6873 | 1 | 0.5536 | 0.85 | 0 | spec, call, fire, lock | 4
1 | RFI-0927 | Southline Office | architectural | envelope | B2 Curtainwall Specification Clarifications | RFI-128 | CoreSite Data Center | architectural | preconstruction | What is the intended finish of the mullion mate? Painted, paintable, or clear anodized? | 0.6851 | 0.8 | 0.9012 | 0.4 | 0 | clarifications, curtainwall | 1
1 | RFI-0830.1 | Southline Office | electrical, other, architectural |  | Ref: Email Correspondence with Sipan/PMA dated 08.09.23; SK-1 Overall Mark up Post: SC2.01 (B1 SI-04 dated 05.19.23) This is confirming RFI per email correspondence with PMA. Please confirm the B1 exterior camera changes marked up on SK-1 are acceptable. | RFI-0569.1 | Southline Office | civil_site, electrical | mep_trim_out | B1 Site Lighting and Anemometer Christy Box Confirmation | 0.682 | 1 | 0.7365 | 0.5 | 0 | mark, post, email, acceptable, dated 05, si-04, dated, si-04 dated 05, marked, si-04 dated | 1
1 | RFI-1595 | Southline Office |  |  | It is not possible to meet both ADA dimensions for the access panel and communication panel with the current design per detail 16C/G1.01 and 16D/G1.01. The installed location of bottom of braille is at currently at 45 1/8". Per ADA requirements this needs to be at 48" Minimum. If we raise the entire access door, the communication button inside will not meet the 48" Max per detail 16D/G1.01. Please confirm that it is acceptable to raise the sticker on the access panel by 4" in order to meet both | RFI-1996 | Southline Office | architectural | interior_finishes | B2 Servery Waterfall Countertops at ADA Locations 01, A4.03, A6.03, A9.73 Question: Please confirm it is acceptable to remove the stainless-steel legs at either side of 34" ADA locations and maintain the support wall in place for the WD-12 paneling to attach to. The ST-2 countertop would then run a | 0.6773 | 1 | 0.6125 | 0.5 | 0 | panel, location, ada, acceptable, detail, installed, wall | 4
1 | RFI-0146 | Southline Office |  |  | The door opening at the roof screen is to be modified per THC RFI-031 response (DPR RFI-0008), and the C8x11.5 header connection is to be followed per detail-15/S5.80. If we follow the extended shear plate connection per detail-15/S5.80, then the shear plate will extend in the opening. Therefore, we propose to provide the shear plate up to the post flange edge, and the channel extended up to the post web as shown in model snippet-1. Please review and confirm the channel arrangement, connection, | RFI-0965 | Southline Office |  | structure | PSD Added Cantilevered C12x25 Detail Clarification | 0.6767 | 1 | 0.6256 | 0.5 | 0 | connection, post, channel, edge, round, shear | 4
1 | RFI-1595 | Southline Office |  |  | It is not possible to meet both ADA dimensions for the access panel and communication panel with the current design per detail 16C/G1.01 and 16D/G1.01. The installed location of bottom of braille is at currently at 45 1/8". Per ADA requirements this needs to be at 48" Minimum. If we raise the entire access door, the communication button inside will not meet the 48" Max per detail 16D/G1.01. Please confirm that it is acceptable to raise the sticker on the access panel by 4" in order to meet both | RFI-2136.1 | Southline Office |  | interior_finishes | The low plaque wall behind B2 was poured to a maximum of 1'-9" above the north landscaping per detail 6/L8.02 with a thickness of 8". Now that the DG on the south side of the wall installed, the height from DG to the TOW is 1'-5". Per a conversation with DES, the desired elevation for TOW from DG is 1'-9". 1) In order to provide a uniform boardform finish around the wall while extending the height to 1'-9", the wall will need to extend 3" on all sides (see attached markup). Please confirm the ne | 0.6763 | 1 | 0.5967 | 0.5 | 0 | acceptable, order, dimensions, detail, max, installed, wall | 4
1 | RFI-1595 | Southline Office |  |  | It is not possible to meet both ADA dimensions for the access panel and communication panel with the current design per detail 16C/G1.01 and 16D/G1.01. The installed location of bottom of braille is at currently at 45 1/8". Per ADA requirements this needs to be at 48" Minimum. If we raise the entire access door, the communication button inside will not meet the 48" Max per detail 16D/G1.01. Please confirm that it is acceptable to raise the sticker on the access panel by 4" in order to meet both | RFI-2028 | Southline Office |  | structure | Cane rail is installed at Level 1 at Stairs 1, 2, and 3 per detail 2/A7.21 and Keynote 756. However, as shown in below snippit from the project conditions of approval, a full height barrier is needed. The current cane rails can allow people to conceal themselves under the stairs, since it is low enough to jump. The current install was not acceptable to the SSF Police Department. Please see attached markups for the proposed barrier at each stair landing. It is proposed to mimic the existing guard | 0.676 | 1 | 0.6072 | 0.5 | 0 | requirements, bottom, acceptable, meet, access, detail, wing, installed | 4
1 | RFI-1595 | Southline Office |  |  | It is not possible to meet both ADA dimensions for the access panel and communication panel with the current design per detail 16C/G1.01 and 16D/G1.01. The installed location of bottom of braille is at currently at 45 1/8". Per ADA requirements this needs to be at 48" Minimum. If we raise the entire access door, the communication button inside will not meet the 48" Max per detail 16D/G1.01. Please confirm that it is acceptable to raise the sticker on the access panel by 4" in order to meet both | RFI-1997 | Southline Office | architectural | interior_finishes | B2 Casework Modification for Outlet Clash in Conf 1 01, A4.02, A6.02, Submittal 4634 Question: For the base cabinets in Conference Room 102, our approved shop drawings in submittal 4634-2 have the run of cabinets all equal width in the niche. In RFI 1881, it was confirmed that grommets were reque | 0.6752 | 1 | 0.6057 | 0.5 | 0 | detail, inside, wing, wall | 4
1 | RFI-1850.1 | Southline Office |  |  | B2 Equipment Walk-Path Mat Dimensions 1 B2 Equipment Walk-Path Mat Dimensions Reference: RFI 1850, A2.02 Question: Per the attached photos, current conditions show conflicts between the exhaust fan and walking path dimensions provided in RFI 1850. Please confirm it is acceptable to shift the walking path dimensions in the areas marked up in red. | RFI-1918.1 | Southline Office | architectural |  | B2 Coffee Bar Shelving Elevation Clarification 1 B2 Coffee Bar Shelving Elevation Clarification Referenced Documents: RFI 1918, 4/A6.03 Question: RFI 1918 dimension clarification marked up implies that the outer shelf dimensions are equal to the inner shelf dimensions. Please confirm if the shelves are to match elevation shown in 4/A6.03 or as implied with the added dimen | 0.6744 | 1 | 0.6048 | 0.5 | 0 | mat, dimensions, show, marked | 4
1 | RFI-0146 | Southline Office |  |  | The door opening at the roof screen is to be modified per THC RFI-031 response (DPR RFI-0008), and the C8x11.5 header connection is to be followed per detail-15/S5.80. If we follow the extended shear plate connection per detail-15/S5.80, then the shear plate will extend in the opening. Therefore, we propose to provide the shear plate up to the post flange edge, and the channel extended up to the post web as shown in model snippet-1. Please review and confirm the channel arrangement, connection, | RFI-0016 | Southline Office |  | structure | B1 BRB Beam Cover Plate Split at Shear Plate | 0.6733 | 1 | 0.7077 | 0.5 | 0 | roof, fillet, weld, shear plate, plate, follow, followed, design, shear, web | 4
1 | RFI-1850.1 | Southline Office |  |  | B2 Equipment Walk-Path Mat Dimensions 1 B2 Equipment Walk-Path Mat Dimensions Reference: RFI 1850, A2.02 Question: Per the attached photos, current conditions show conflicts between the exhaust fan and walking path dimensions provided in RFI 1850. Please confirm it is acceptable to shift the walking path dimensions in the areas marked up in red. | RFI-1942 | Southline Office | architectural, structural | structure | B2 Game Room Electrical Pathway Details 81 Question: Please see mark-up attached showing the conduit pathway needed in the Game Room Structure: 1.) Please confirm it is acceptable to increase the center drywall portion of the game room to 9" studs in order to fit the FSR boxes back to back and be able to moun | 0.6721 | 1 | 0.5976 | 0.5 | 0 | mat, areas, acceptable, show, path, marked | 4
1 | RFI-0146 | Southline Office |  |  | The door opening at the roof screen is to be modified per THC RFI-031 response (DPR RFI-0008), and the C8x11.5 header connection is to be followed per detail-15/S5.80. If we follow the extended shear plate connection per detail-15/S5.80, then the shear plate will extend in the opening. Therefore, we propose to provide the shear plate up to the post flange edge, and the channel extended up to the post web as shown in model snippet-1. Please review and confirm the channel arrangement, connection, | RFI-0018 | Southline Office |  | structure | If we detail the 6 1/4" square plate washer per Detail-4/S5.43, then there is only 3/16" and 7/16" clearance from plate washer to column flange and Stiffener as shown in Model snippet-1. Please review and advise. If we detail a 3'-5" square embed plate and 3'-2" base plate per Detail-4/S5.43, then there is no weld shelf for a 3/8" fillet weld between the shear plate and embed plate as shown in Model snippet-2. Please review and advise. Per Detail-4/S5.43 3'-5" square embed plate is to be detaile | 0.6719 | 1 | 0.7029 | 0.5 | 0 | model snippet-2, fillet, connection, weld, snippet-1, acceptable, shear plate, model, plate connection, plate, follow, snippet-2, flange, advise, edge, model snippet-1, shear | 4
1 | RFI-1850.1 | Southline Office |  |  | B2 Equipment Walk-Path Mat Dimensions 1 B2 Equipment Walk-Path Mat Dimensions Reference: RFI 1850, A2.02 Question: Per the attached photos, current conditions show conflicts between the exhaust fan and walking path dimensions provided in RFI 1850. Please confirm it is acceptable to shift the walking path dimensions in the areas marked up in red. | RFI-2002 | Southline Office | architectural, electrical, mechanical, structural | mep_trim_out | Ref: RFI-1269, Submittal 4234, A3.01 The ceiling fan for the Group Exercise room mounts directly to the electrical j-box that is recessed in the mass timber roof deck. The location of the 4" penetration for the recessed electrical j-box was prefabbed into the mass timber roof deck per reviewed submittal 4234 and RFI-1269. The location of the penetration is 8' 10" from gridline 12. This resulted in the ceiling fan location to not match reflected ceiling plan A3.01 which has the ceiling fan center | 0.6714 | 1 | 0.593 | 0.5 | 0 | mat, red, acceptable, fan | 4
1 | RFI-1946 | Southline Office |  | mep_rough_in | Offsite - R20 Dollar linden Comm Riser pole quadrant confirmation 0 For the marked comm riser pole on South Linden, please provide the quadrants that the risers will need to be installed to: Sonic - 1(EA) 4" ATT - 4(EA) 4" Astound - 1 (EA) 4" Comcast - 1(EA) 4" Otherwise, please | RFI-1949 | Southline Office |  |  | Offsite - R20 Tanforan AT&T Box conflict with existing Sonic box 0 The sonic pullbox was installed with the ~5' spacing provided between the pullbox and the installed pole. The pullbox had to be shifted and was approved by Sonic prior to installation, see attached ma | 0.6711 | 1 | 0.5936 | 0.5 | 0 | r20, pole, installed, offsite | 4
1 | RFI-0146 | Southline Office |  |  | The door opening at the roof screen is to be modified per THC RFI-031 response (DPR RFI-0008), and the C8x11.5 header connection is to be followed per detail-15/S5.80. If we follow the extended shear plate connection per detail-15/S5.80, then the shear plate will extend in the opening. Therefore, we propose to provide the shear plate up to the post flange edge, and the channel extended up to the post web as shown in model snippet-1. Please review and confirm the channel arrangement, connection, | RFI-0014 | Southline Office |  | structure | B1 AB, base plate and plate washer connection clarification | 0.671 | 1 | 0.7 | 0.5 | 0 | advise otherwise, otherwise, connection, snippet-1, acceptable, model, plate, follow, flange, advise, instead, model snippet-1 | 4
1 | RFI-0927 | Southline Office | architectural | envelope | B2 Curtainwall Specification Clarifications | RFI-0210 | Southline Office | curtainwall | envelope | B1 Exterior Storefront Door Hinges | 0.6708 | 0.8 | 0.6825 | 1 | 0 | specification, curtainwall | 3
1 | RFI-1946 | Southline Office |  | mep_rough_in | Offsite - R20 Dollar linden Comm Riser pole quadrant confirmation 0 For the marked comm riser pole on South Linden, please provide the quadrants that the risers will need to be installed to: Sonic - 1(EA) 4" ATT - 4(EA) 4" Astound - 1 (EA) 4" Comcast - 1(EA) 4" Otherwise, please | RFI-2141 | Southline Office |  |  | Offsite - Dollar Linden TS cabinet relocation Offsite - Dollar Linden TS cabinet relocation Reference Drawing: Offsite TS-02 Per the latest approved plans, plan sheet TS-02 indicates the location for the installation of the controller cabinet and service cabinet for the Dollar/Linden intersection. To construct the new intersection in an efficient manner, the controller cabinet and service cabinet need to be relocated approximately 30 feet SW. Either closer to the ADA ramp o | 0.6702 | 1 | 0.5786 | 0.5 | 0 | linden, dollar linden, dollar, offsite | 4
1 | RFI-0422 | Southline Office |  | envelope | Please confirm it is acceptable to change the edge of slab dimension to 10 1/4" to align the curtainwall system (attached) | RFI-0853 | Southline Office | concrete | structure | Per conversations with Peter/DES, please confirm that the alignment of the CMU walls and concrete beams along G5 is acceptable. Please confirm that the tier 2 slab is to extend to the face of the beam below. | 0.6667 | 0.95 | 0.569 | 0.85 | 0 | acceptable, slab, align | 4
1 | RFI-0146 | Southline Office |  |  | The door opening at the roof screen is to be modified per THC RFI-031 response (DPR RFI-0008), and the C8x11.5 header connection is to be followed per detail-15/S5.80. If we follow the extended shear plate connection per detail-15/S5.80, then the shear plate will extend in the opening. Therefore, we propose to provide the shear plate up to the post flange edge, and the channel extended up to the post web as shown in model snippet-1. Please review and confirm the channel arrangement, connection, | RFI-0033 | Southline Office |  | structure | is acceptable, Please confirm the same weld can be applied for stiffener to base plate in Detail-8/S5.43, as the stiffener to base plate weld is missing. 3. Detail-8/S5.43 does not show the weld details for stiffener to column flange. Please furnish the weld. 4. We understand that the Headed studs are to stop at concrete pedestal (top of Base plate to top of concrete pedestal). Please confirm or advise if these are required up to Level-1 Slab. 5. We understand that the 12" concrete perimeter cur | 0.6643 | 1 | 0.6778 | 0.5 | 0 | model snippet-2, connection, weld, snippet-1, acceptable, shear plate, model, plate, design, snippet-2, flange, advise, model snippet-1, shear | 4
1 | RFI-1850.1 | Southline Office |  |  | B2 Equipment Walk-Path Mat Dimensions 1 B2 Equipment Walk-Path Mat Dimensions Reference: RFI 1850, A2.02 Question: Per the attached photos, current conditions show conflicts between the exhaust fan and walking path dimensions provided in RFI 1850. Please confirm it is acceptable to shift the walking path dimensions in the areas marked up in red. | RFI-2000 | Southline Office | architectural | interior_finishes | B2 Base Clarification in Group Exercise Room 01 Question: Finish Plan shows the Group Exercise Room receiving rubber base (RB-1) however, the wood flooring that the system in the group exercise room has its own rubber base as part of its system. 1. Please confirm RB-1 is not required. 2. Additionally, | 0.6623 | 0.95 | 0.621 | 0.5 | 0 | mat, red, show | 4
1 | RFI-0422 | Southline Office |  | envelope | Please confirm it is acceptable to change the edge of slab dimension to 10 1/4" to align the curtainwall system (attached) | RFI-2003 | Southline Office | exterior_envelope, architectural | envelope | B1 Waterproofing Detail at Loading Dock and CMU Wall Intersection Confirmation 20 Markup | 0.6615 | 0.8 | 0.6365 | 1 | 0 | dimension, system | 4
1 | RFI-1850.1 | Southline Office |  |  | B2 Equipment Walk-Path Mat Dimensions 1 B2 Equipment Walk-Path Mat Dimensions Reference: RFI 1850, A2.02 Question: Per the attached photos, current conditions show conflicts between the exhaust fan and walking path dimensions provided in RFI 1850. Please confirm it is acceptable to shift the walking path dimensions in the areas marked up in red. | RFI-2000.1 | Southline Office | architectural | interior_finishes | B2 Wood Flooring Transition in Group Ex 1 B2 Wood Flooring Transition in Group Ex Referenced Documents: A2.01 Question: Wood Flooring system does not work with a schluter for transitions to the storage room. Email coordination attached shows threshold alternative for this location. Please advise which threshold/transition is preferred. | 0.6609 | 0.95 | 0.615 | 0.5 | 0 | mat, red, show | 4
1 | RFI-1909 | Southline Office |  | interior_finishes | that was provided for the terracotta tile layout around the piping in Tier 1 is acceptable? | RFI-1122 | Southline Office | architectural |  | ) Please confirm that the layout for the L1 Louver at the Trash Enclosure is accurate per the attached SKA-01 detail by DES. Q2) Please confirm if detail 10/S6.00 is still acceptable for the reinforcement around the penetration at the CMU. | 0.66 | 0.95 | 0.7218 | 0.5 | 0 | layout, acceptable, around | 4
1 | RFI-1595 | Southline Office |  |  | It is not possible to meet both ADA dimensions for the access panel and communication panel with the current design per detail 16C/G1.01 and 16D/G1.01. The installed location of bottom of braille is at currently at 45 1/8". Per ADA requirements this needs to be at 48" Minimum. If we raise the entire access door, the communication button inside will not meet the 48" Max per detail 16D/G1.01. Please confirm that it is acceptable to raise the sticker on the access panel by 4" in order to meet both | RFI-1663 | Southline Office | architectural |  | B2 FWP-5 Panel Width Clarification 01, A6.02 Question: The Architectural(A6.02) and FWP Shop Drawings are currently showing the width of the large panels being 51-13/16”. The width of the fabric is only 54” wide. With the fabric returning 2” on either and wrapping around the back, the max width the manufacturer i | 0.6571 | 1 | 0.6496 | 0.5 | 0 | panel, acceptable, currently, detail, max, wing | 4
1 | RFI-0422 | Southline Office |  | envelope | Please confirm it is acceptable to change the edge of slab dimension to 10 1/4" to align the curtainwall system (attached) | RFI-1233 | Southline Office |  | mep_rough_in | PSD Storage Room 117 CMU Wall Shift Confirmation 01 Attached SSK-01 Background: DPR GC provided curb layout for the CMU curbs at Tier 1 MPOE, Fire Command, and Storage Room (117). When DPR Concrete poured these curbs, the exterior edge of | 0.6515 | 0.8 | 0.6 | 0.85 | 0 | edge, acceptable | 4
1 | RFI-1909 | Southline Office |  | interior_finishes | that was provided for the terracotta tile layout around the piping in Tier 1 is acceptable? | RFI-1975 | Southline Office |  | structure | PSD Tier 2 GB Curb Concrete Clearance from SD Confirmation | 0.6469 | 0.95 | 0.7139 | 0.4 | 0 | tier, acceptable, around | 4
1 | RFI-0447 | Southline Office | architectural, exterior_envelope |  | B1 Alignment of Fascia and Vertical Joints at PH Overhang | RFI-1509 | Southline Office | architectural | structure | B2 Control Joint Clarifications 01 & MCN Submittal 4645-092900-1 B2 DW Interior Control Joint Shop Drawings R1: 1. During the review of Submittal 4645, DES requested an additional shop drawing to identify the detailing for where a control joint running vertically down a soffit face intersects at an inside corner of a soffit horiz | 0.6389 | 0.8 | 0.8257 | 0.5 | 0 | vertical, joints | 1
1 | RFI-1909 | Southline Office |  | interior_finishes | that was provided for the terracotta tile layout around the piping in Tier 1 is acceptable? | RFI-1123 | Southline Office | architectural, structural |  | PSD Tier 5 Vehicle Barrier Cable Rail Layout Confirmation 1 - PSD Concrete Ramp and Slab Edge Confirmation_R1 Email Correspondence between DES/Olesya and DPR/Luis Background: Per RFI700.1 response, shear walls at T | 0.6246 | 0.8 | 0.6853 | 0.5 | 0 | layout, tier | 4
1 | RFI-1909 | Southline Office |  | interior_finishes | that was provided for the terracotta tile layout around the piping in Tier 1 is acceptable? | RFI-1193 | Southline Office | concrete |  | PSD Tier 5 - Added Curbs at Wall Openings Confirmation | 0.6242 | 0.8 | 0.6839 | 0.5 | 0 | tier, acceptable | 4
1 | RFI-0447 | Southline Office | architectural, exterior_envelope |  | B1 Alignment of Fascia and Vertical Joints at PH Overhang | RFI-1322 | Southline Office | architectural | mep_trim_out | Ref: A7.09, SLP1 - 4149-142100-2 B1 Service Elevator Fixture Shop Drawings_R2 1) Please confirm call station fixture to be installed at 42" AFF. 2) Please confirm hall lantern should be installed above doors, centered on opening, 3" above door frame. 3) Please confirm call button and fire service fixture to be installed in vertical alignment. Please see attached for more information. | 0.6177 | 0.8 | 0.7557 | 0.5 | 0 | vertical, alignment | 1
1 | RFI-0447 | Southline Office | architectural, exterior_envelope |  | B1 Alignment of Fascia and Vertical Joints at PH Overhang | RFI-1067 | Southline Office | architectural | interior_finishes | Ref Sheet A5.11A; 1,5,9/S7.1; Bid Exhibit 26 CMU Patterning: Based on the size of CMU blocks, spacing between doors, and required rebar reinforcement at doorways and control joints, the layout for CMU shown in 1&2/A5.11A cannot be accommodated. The attached document includes dimensioned lengths provided by DK/DES after the 10/12/23 CMU coordination meeting, total quantity and partial size block between each door opening, and the control joints. Suggested start point and considerations to achieve | 0.6131 | 0.8 | 0.7404 | 0.5 | 0 | alignment, joints | 1
1 | RFI-0447 | Southline Office | architectural, exterior_envelope |  | B1 Alignment of Fascia and Vertical Joints at PH Overhang | RFI-0824 | Southline Office | architectural, structural |  | B2 CMU Wall Control Joint Locations | 0.6072 | 0.8 | 0.7206 | 0.5 | 0 | alignment, joints | 1
1 | RFI-0447 | Southline Office | architectural, exterior_envelope |  | B1 Alignment of Fascia and Vertical Joints at PH Overhang | RFI-0276.2 | Southline Office | architectural, masonry, interior_finishes |  | B1 CMU Color Clarifications_R2 2 B1 CMU Color Clarifications_R2 Reference: SLP1 - RFI0276.2 - B1 CMU Color Clarifications_R2 SLP1 - RFI0276.1 - B1 CMU Color Clarifications_R1 Background: Cornerstone Masonry has brought up concerns with the current DES CMU Pattern Guidelines regarding the vertical alignment of the CMU block. Question 1: Per DES/DPR discussion on 01.05.24, p | 0.6066 | 0.8 | 0.7188 | 0.5 | 0 | vertical, alignment | 1